## URUM
ELECTRO-MECHANICAL WORKS FOR REHABILITATION AND IMPROVEMENT OF URUM WATER PROJECT IN TURKANA COUNTY
Notes: The contractor is reminded to visit the site before filling the respective rates in the bills of quantities and to ascertain the extent of the conditions of site. All quantified works in the tender are provisional and inclusive of VAT.The contractor shall provide, erect and maintain all safety measures requirements according to specifications. All materials must be approved by IRC engineer before they are used in construction.
ITEM | DESCRIPTION | Unit | Qty | Rate (Inclusive of Vat and any other duties/taxes) KES | Amnt (KES)
1 | PRELIMINARIES AND GENERAL ITEMS
1.01 | Mobilization and demobilization from site about 160km from Lodwar town to project site | LS | 1
1.02 | Fabricate a sign post with a display area of 1350mm x900mm and a support frame of 1500mm above ground level and concreted (grade 20) on the ground 300mm below the ground level. The sign post should be primed and painted with three coats of high grade gloss paint and written as per the engineer’s instruction. Material shall be mild steel gauge 16 and board printed on both sides. | No | 1
Sub-Total
2 | REMOVAL OF OLD PUMP & INSTALLATION OF NEW PUMP SYSTEM
Removal of Existing Pump and Borehole inspection
2.01 | Allow for removal of existing pump and its accessories | LS | 1
2.02 | Allow for camera scan for the borehole | LS | 1
2.03 | Test pumping to include Step draw down and constant discharge | Hr | 30
2.04 | Recovery Test | Hr | 12
2.05 | Water quality testing analysis | LS | 1
Pump Intallation
2.06 | Supply, install and test 1.5" High Density Dayliff uPVC riser pipes (PN12) and accessories to connect to the submersible pump- Depth not exeeding 60m. | m | 60
2.07 | Supply and install 25mm uPVC class D airline pipes | m | 60
2.08 | Supply, install and test a submersible pump(SQF 1-70 Grundfos Pump or equivalent and as directed by the client capable of producing 5.4m³/hr at a total head of 79.4 m) complete with motor, solar PV Disconnect, controller to match the the pump motor rating and all installation sundries or as per the results obtained during the inspection. | No. | 1
2.09 | Provide and connect for power cables (sized to power rating) with cable end terminals for connection from solar power source to switch gear up to borehole pump, cost to include all accessories. | Ls | 1
Supply, handle, deliver to site, lay and joint the following
2.1 | 1 1/2" GI sweep bend | NO | 1
2.11 | 1 1/2" GI socket | NO | 1
2.12 | 1 1/2" 400mm long threaded GI pipe | NO | 2
2.13 | 1 1/2" dia Non Return Valve | NO | 1
2.14 | 1 1/2" dia Gate valve | NO | 1
2.15 | 1 1/2" GI union | NO | 1
2.16 | 1 1/2" Water Meter (Woltmann Type or its equivalent) | NO | 1
2.17 | 1 1/2" GI elbow | NO | 2
2.18 | 1 1/2" hexagonal GI nipple | NO | 2
Sub-Total
3 | SUPPLY OF 10M3 AND CONSTRUCTION TANK BASE (3MX3M) AND CONNECTION TO WATER SUPPLY AT DISPENSARY
3.01 | Clear site of all bushes, grass, scrubs and roots. | SM | 7
3.02 | Excavate over site to remove top vegetation soil 200mm and dispose away from site as instructed by the Engineer | SM | 7
3.03 | The contractor is reminded that all concrete works must be vibrated using a poker vibrator and all scheduling, dimensioning, bending and cutting of steel reinforcement for concrete to be as per BS 4466
3.04 | Excavate starting from stripped level a 600mm wide foundation trench to a depth not exceeding 0.5m in normal soil | CUM | 5
Fillings
3.05 | Return, fill and ram around foundations | CUM | 2
Mass Concrete
3.06 | Supply all materials and cast a 50mm thick concrete blinding to bed of foundation wall (mix ratio 1:4:8) | SM | 6
3.07 | Supply and fix steel bars in foundation trench concrete work including cutting, bending, hoisting, and tying wire and supporting all in position, D12 @ 200 c/c | KG | 45
Reinforced concrete
3.08 | Supply all materials and cast a 150mm thick vibrated reinforced foundation concrete 1:2:4 (concrete class 20/20) | CUM | 1
Rough natural stone with crushing strength 12Kn
3.09 | Supply and build, 200mm thick stone foundation walling in cement and sand mortar (1:3). Reinforce with and including 20swg x 25mm wide hoop iron in every alternative course; height 1.2m. | SM | 20
3.1 | 300mm thick approved hard-core,well compacted in layers not exceeding 150mm and blinded using 50mm marram/quarry dust | CM | 12
3.11 | Rough formwork to sides of slab | SM | 12
3.12 | Supply and fix steel bars in slab concrete work including cutting, bending, hoisting, and tying wire and supporting all in position, D8 @ 200 c/c | KG | 50
3.13 | Supply all materials and cast a 175mm vibrated reinforced concrete slab mix1:2:4 or class 20/20 | CUM | 2
3.14 | 15mm thick two coat cement sand (1:3) plaster trowelled smooth and comprising 12mm backing and 3mm finishing coat the columns. | SM | 30
3.15 | Provisional sum of Kes 20,000 for plumbing works including chasing, installing sleeves in concrete, excavation threading, portable power supply and making good all damaged areas | LS | 1
3.16 | Supply, handle, deliver to site, lay and joint the following
3.17 | 1 1/2" GI pipe | NO | 2
3.18 | 1 1/2" GI elbow | NO | 4
3.19 | 1 1/2" dia Gate valve | NO | 2
3.2 | 1 1/2" GI union | NO | 2
3.21 | 1 1/2" hexagonal GI nipple | NO | 4
3.22 | 1 1/2" 3000mm long threaded GI pipe | NO | 1
3.23 | 1 1/2" 1500mm long threaded GI pipe | NO | 1
3.24 | 1 1/2" long threaded GI nipple | NO | 2
3.25 | 1 1/2" backnuts | NO | 6
Sub-Total
4 | CHLORINE DOSING UNIT
4.01 | Supply and install klorman inline chlorinator and supply 3 extra catridges to allow for 6 months of supply. | No | 1
Sub-Total
5 | CATTLE TROUGH (1NO)
Cattle trough 10m long and located n.e 30m from the community water point as designed to detail with all plumbing works from the community water point incorporating a 30m long HDPE Pipe PN10 with all fittings to trough. Include for 75 mm thick concrete slab for manhole cover as per attached drawing
5.01 | Excavate trench for Pipes minimum depth of 400mm and backfill as directed by the Engineer. | M | 50
5.02 | Clear and Excavate over site soil material to reduce levels not exceeding 225mm deep and cart away | SM | 20
5.03 | Excavation for raft foundation not exceeding 0.6m deep starting from the reduced level | SM | 20
5.04 | 300mm thick approved hard-core,well compacted in layers not exceeding 150mm and blinded using 50mm marram/quarry dust | SM | 20
5.05 | Plain concrete class 20 vibrated in foundation base 125mm thick on BRC A 142 | CM | 2.5
5.06 | Plain and place BRC A142 | SM | 20
5.06 | Approved local stone; squared and rough chisel dressed on one side,bedding and jointing in cement mortar (1:3) in walls 150mm thick.Provide for 1.5ft long 2" dia. GI pipe class A as scour with end cap. | SM | 9
5.07 | Plaster; 25mm with cement, Water proofing and sand mortar 1:1:3 mix internally and floor | SM | 10
5.08 | Plaster; 25mm with cement sand mortar 1:3 mix externally | SM | 9
5.09 | Provide 2.5m wide Stone pitched lining around the water trough | SM | 64
Supply, handle, deliver to site, lay and joint the following
5.1 | 50mmx 1 1/2'' HDPE Adaptor | NO | 2
5.11 | Block Board | NO | 10
5.12 | 50mm dia HDPE PN12.5 Pipe | LM | 50
5.13 | 1 1/2x1" Reducing socket | NO | 1
5.14 | 1" GI elbow | NO | 2
5.15 | 1" dia Gate valve | NO | 1
5.16 | 1" GI Pipe Threaded both sides of length 1m | NO | 1
5.17 | 1" GI union | NO | 1
5.18 | Polythene sheet | PC | 10
5.19 | 1" hexagonal GI nipple | NO | 2
5.2 | 1" Float Valve | NO | 1
Sub-Total
GRAND SUMMARY PAGE
1 | PRELIMINARIES AND GENERAL ITEMS
2 | REMOVAL OF OLD PUMP & INSTALLATION OF NEW PUMP SYSTEM
3 | SUPPLY OF 10M3 AND CONSTRUCTION TANK BASE (3MX3M) AND CONNECTION TO WATER SUPPLY AT DISPENSARY
4 | CHLORINE DOSING UNIT
5 | CATTLE TROUGH (1NO)
GRAND TOTAL