## BOQ-Staff Hse
BILL OF QUANTITIES FOR THE PROPOSED EMILAIT STAFF QUARTERS (Lot 3)
Item | Desceription of activites | Unit | Qty | Rate (Kshs) | Total Amount(Ksh)
ELEMENT NO 1: PRELUIMINARY AND GENERAL ITEMS
A | Mobilization of materials and personnel 125km from Lodwar Town to the School. Rate shall be inclusive of setting up site and temporary stores, demobilization after completion of works | LS | 1 |  | 0
B | Fabricate a sign post with a display area of 1350mm x900mm and a support frame of 1500mm above ground level and concreted (grade 20) on the ground 300mm below the ground level. The sign post should be primed and painted with three coats of high grade gloss paint and written as per the engineer’s instruction. Material shall be mild steel gauge 16 and board printed on both sides. | No | 1 |  | 0
| Carried to Collection |  |  |  | 0
ELEMENT NO 2
SUBSTRUCTURES (ALL PROVISIONAL)
Note: This element includes all works upto and including ground floor
Site clearannce
A | Clear the site of all bushes, shrubs and trees. Cut their roots and cart away from site as directed. | m2 | 70 |  | 0
Excavations
B | Excavations to remove top vegetable soil : 300mm deep average : wheel and deposit on site load and cart away. | m2 | 70 |  | 0
C | Excavate trenches for wall foundations : commencing from reduced level : not exceeding1.5 metres deep | m3 | 39 |  | 0
D | Ditto; Column bases | m3 | 2.4 |  | 0
E | Extra over excavation for excavating in : rock Class I : | m3 |  |  | 0
Disposal of excavated materials
F | Backfill and compact in layers : selected excavated material around foundations : placed in 200mm thick layers : well watered and compacted to 95% MDD | m3 | 20 |  | 0
G | Surplus excavated material : spread on site | m3 | 19 |  | 0
| Carried to Collection |  |  |  | 0
Disposal of water
A | Keep excavations free from all water by baling, pumping or otherwise | Item | 1 |  | 0
Planking and strutting
B | Planking and strutting to sides of all excavations : keep excavations free from all fallen materials | Item | 1 |  | 0
Hardcore
C | Approved imported and handpacked 450 mm minimum thick hardcore Filling : deposited, spread, levelled and compacted in layers of 150mm. | m2 | 70 |  | 0
D | 50 mm quarry dust or murram blinding | m2 | 70 |  | 0
E | Provide and apply anti-termite(premise 200 SC) as directed by the site Engineer | m2 | 70 |  | 0
Insitu concrete : class 20/20 : vibrated : reinforced
F | Foundations in trenches | m3 | 3.9 |  | 0
G | Column bases | m3 | 0.4 |  | 0
H | Columns & Ground beams | m3 | 2.9 |  | 0
I | 150mm Thick slab: floor | m2 | 70 |  | 0
Mesh fabric reinforcement to BS 4483: 200 mm laps
J | Fabric mesh reinforcement A142 weighing 2.22kg per square metre : in surface beds | m2 | 70 |  | 0
High yield square twisted reinforcement to BS 4461 (Provisional)
K | D12 bar sizes | kg | 380 |  | 0
L | D8 bar sizes | kg | 130 |  | 0
| Carried to Collection |  |  |  | 0
Formwork : to
A | Vertical sides : foundations | m2 | 24 |  | 0
B | Ditto; Column bases | m2 | 4.8 |  | 0
C | Ditto; Columns | m2 | 7.2 |  | 0
D | Vertical edges of floor slab : over 75 but not exceeding 150 mm high | m | 34 |  | 0
Selected and approved quality local stone or concrete blocks : load bearing (7N/mm²) block walling : bedded, jointed and pointed : in cement and sand (1:4) mortar reinforced with hoop iron at every alternative course
E | 200mm Walling | m2 | 30 |  | 0
Labours and sundries
F | One layer 1000 gauge polythene sheet damp proof membrane : under beds : 300mm laps : sealed joints | m2 | 70 |  | 0
Plinths
15mm cement and sand (1:4) render on concrete and masonry surfaces.
G | Vertical surfaces | m2 | 15 |  | 0
Prepare and apply three coats bituminous paint on rendered surfaces
H | External surfaces of plinths | m2 | 15 |  | 0
| Carried to Collection |  |  |  | 0
COLLECTION
| Total Brought Forward from Page No. |  |  |  | 0
0
0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 2
REINFORCED CONCRETE SUPERSTRUCTURE
Insitu concrete : class 20/20 vibrated & reinforced
A | Roof ring beams | m3 | 1.9 |  | 0
B | Columns | m3 | 1.2 |  | 0
Formwork to:
C | Sides and soffits of ring beams | m2 | 18.6 |  | 0
D | Sides of columns | m2 | 17.5 |  | 0
High yield square twisted bar reinforcement to BS 4461 (Provisional)
E | D12 bar sizes | kg | 401 |  | 0 | 0
0
F | D8 bar sizes | kg | 105 |  | 0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 3
ROOFING
Roofing with prepainted IT4 Box Profile 28G roofing sheets(Selection of colour to be done by the client)
A | Roof covering; fixed to slopes | m2 | 66 |  | 0
Roof Structure (All provisional)
Timber roof stucture : sawn celcured cypress : bolted connection; allow for scarf joints etc to engineer's details
B | 100 x 50mm wall plate | m | 26 |  | 0
C | 100x 50mm Rafters | m | 88 |  | 0
D | 50 x 50mm Purlins | m | 47 |  | 0
Wrought cypress, treated, selected, kept clean
E | 225x 25mm Fascia/barge board | m | 32 |  | 0
| Carried to Collection |  |  |  | 0
Painting and decorating
A | Knot, prime, stop, stain, prepare and apply three coats pinnotex wood preservative; on surfaces of woodwork externally | m2 | 44 |  | 0
B | Prepare surfaces and apply three coats gloss oil paint on woodwork externally: surfaces over 200 but not exceeding 300mm girth (fascia and berge board) | m | 32 |  | 0
| Carried to Collection |  |  |  | 0
COLLECTION
| Total Brought Forward from Page No. |  |  |  | 0
0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 4
WALLING
External walls
Chisel cut 'Natural stone' or equal and approved quality local stone or concrete blocks : load bearing (7N/mm²) block walling : bedded, jointed and pointed : in cement and sand (1:4) mortar and reinforced with and including hoop iron at every alternative course
A | 200 mm Thick walling - external | m2 | 72 |  | 0
B | Ditto : Gable walling | m2 | 10 |  | 0
Internal walls
Selected and approved quality local stone or concrete blocks : load bearing (7N/mm²) block walling : bedded, jointed and pointed : in cement and sand (1:4) mortar and reinforced with and including hoop iron at every alternative course
C | 150 mm Thick walling - internal | m2 | 20 |  | 0
Damp proof courses : hessian based felt : bedded in cement and sand (1:4) mortar : 300 mm laps
D | Horizontal : 200 mm wide | m | 27 |  | 0
E | Horizontal : 150 mm wide | m | 5 |  | 0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 5
WINDOWS
Single course clay tile sill with rounded edge : bedded, jointed and pointed in coloured cement mortar (1:4)
A | 25 mm Thick window sill 150 mm wide : splay cutting stone wall | m | 12 |  | 0
Supply and fix the following purpose made standard 'Z'- section heavy duty steel casement window fabricated to approved detailed designs: hooded mosquito proofed permanent vents: pin type hinges: 16mm square mild steel burglar proofing bars welded in approved pattern: including all necessary cutting, welding, grinding, ironmongery one coat red oxide primer before fixing: window size
C | 1500 x 1500mm | No | 2 |  | 0
Glazing
G | 5mm Clear sheet glass and glazing to steel casement windows with linseed putty; in panes not exceeding 0.1m2 | m2 | 5 |  | 0
0
Pelmet box & Window board; to detail drawing
A | 150 x 175mm Overall pelmet box, comprising 25mm thick plain MDF, top, sides and fascia; all exposed edges grouted; | m | 12 |  | 0
B | 125 x 25mm Thick window board ditto; grouted along exposed edge | m | 12 |  | 0
C | 12mm Wrought hardwood quadrant beading | m | 12 |  | 0
Wrought softwood
D | 50 x 25mm Wrought cypress bearer; one edge chamfered; screwed and plugged to masonry wall (m/s) at 500mm centres | m | 12 |  | 0
Curtain rails
E | One pair heavy duty brass 'I' section curtain tracks, including brackets, end stops and runners | m | 12 |  | 0
Painting and Decorating
F | Prepare surfaces and apply three coats gloss oil paint as 'Crown' or equal and approved manufacturer(s) on surfaces of steel casements and burglarproofing grills: measured overall on both sides | m2 | 18 |  | 0
G | Prepare and apply three coats gloss oil paint as "Crown' or equal and approved on surfaces of woodwork internally;surfaces over 200 but not exceeding 300mm girth | m | 12 |  | 0
H | Ditto; over 100 but not exceeding 200mm girth | m | 36 |  | 0
I | Prepare and apply aluminium wood primer on surfaces of woodwork before fixing; surfaces over 100 but not exceeding 200mm girth | m | 36 |  | 0
| Carried to Collection |  |  |  | 0
COLLECTION
| Total Brought Forward from Page No. |  |  |  | 0
0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 6
DOORS
Steel door
Steel casement door comprising of 50x50x3mm RHS top and bottom vertical members with and including 6mm thick plate welded to RHS, hooded mosquito proofed permanent vents,pin type hinges and comprise all necessary iron mongery associated with it
A | 1500 x 2400mm High | No. | 2 |  | 0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
Painting and Decorating
A | Prepare and apply three coats gloss oil paint on general metal surfaces (Steel doors) | m2 | 9 |  | 0
| Carried to Collection |  |  |  | 0
COLLECTION
| Total Brought Forward from Page No. |  |  |  | 0
0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 7
EXTERNAL FINISHES
WALL FINISHES
12mm Lime plaster: steel trowelled finish: on concrete or blockwork: Externally: on
A | Concrete sufaces & gable walling | m2 | 10 |  | 0
Painting and decorating
Prepare surfaces and apply three coats 'Duraplast' from Duracoat or 'Permaplast' from Crown external quality emulsion paint: on
B | Plastered wall/concrete surfaces externally | m2 | 10 |  | 0
Key pointing
C | Horizontal recess and verical flush pointing to walls externally | m2 | 72 |  | 0
| Carried Forward to Summary of Section No. 1 |  |  |  | 0
ELEMENT NO 8
INTERNAL FINISHES
FLOOR FINISHES
Cement and sand (1:4) trowelled beds and pavings : on concrete : to
A | 32 mm Floors : finished to receive floor tiles | m2 | 36 |  | 0
B | Ditto: 100mm high skirting | m | 26 |  | 0
300 x 300 x 8 mm thick Ceramic tiles laid in approved tile grout and finished with white cement.
C | Floors | m2 | 36 |  | 0
0
D | 100 mm high skirting | m | 26 |  | 0
| Carried to Collection |  |  |  | 0
WALL FINISHES
12 mm Lime plaster : steel trowelled finish : on concrete, blockwork or stonework : to
A | Walls | m2 | 102 |  | 0
Prepare and apply three coats silk vinyl emulsion paint : on
B | Plastered walls | m2 | 102 |  | 0
| Carried to Collection |  |  |  | 0
COLLECTION
| Total Brought Forward from Page No. |  |  |  | 0
0
| Carried Forward to Summary of Section No.1 |  |  |  | 0
SUMMARY SHEET
1 | PRELUIMINARY AND GENERAL ITEMS |  |  |  | 0
2 | SUBSTRUCTURES |  |  |  | 0
3 | REINFORCED CONCRETE SUPERSTRUCTURE |  |  |  | 0
4 | ROOFING |  |  |  | 0
5 | WALLING |  |  |  | 0
6 | WINDOWS |  |  |  | 0
7 | DOORS |  |  |  | 0
8 | EXTERNAL FINISHES |  |  |  | 0
9 | INTERNAL FINISHES |  |  |  | 0
| TOTAL FOR STAFF QUARTERS |  |  |  | 0