## WPE CONTAINER
Annex 1- BOQ/PRICE SCHEDULE
NO. | DESCRIPTION | UNIT | QUANTTY | RATE- Kes-(VAT/relevant duties inclusive) | Total Amt Kes-(VAT/relevant duties inclusive)
PROPOSED CONTAINER OFFICE CONSTRUCTION FOR WPE.
(ALL PROVISIONAL)
1. SUPPORT COLUMNS
a). Site Preparation
A | Clear the site of all available bushes, shrubs and remove 200mm top soil and cart away from site. | SM | 10 |  | 0
B | Excavate for column trenches starting from the reduced level to level not exceeding 1.50metres deep | CM | 2.5 |  | 0
C | Ditto for level exceeding 1.50metres but not exceeding 3.0metres. | CM | 2.5 |  | 0
D | Extra over all excavations for breaking up/excavating in rocks. Class A. | CM | 2 |  | 0
E | Allow for planking and strutting to sides of all excavations to keep excavations away from all free materials. | ITEM | 1 |  | 0
| TOTAL | 0
b). Concreting
A | 50mm 1:4:8 concrete blinding in all column trenches | SM | 1.5 |  | 0
B | Insitu vibrated reinforced concrete 1:1.5:3 grade 25(20mm aggregates) in all columns. | CM | 2 |  | 0
C | Marine Board formwork to sides of columns | SM | 26 |  | 0
| TOTAL | 0
c). Reinforcement
High yield round ribbed bar reinforcement to B.S. 4461; including bends, hooks, tying wire, distance blocks and spacers;
A | 8mm diameter wire | KG | 20 |  | 0
B | 10mm diameter wire | KG | 30 |  | 0
C | 12mm diameter wire | KG | 40 |  | 0
| TOTAL | 0
d). Backfill
A | Fillings to make up levels around the column foundations; backfill and compact in 150 mm layers; selected excavated materials. | CM | 1 |  | 0
B | Remove excavated materials from site. | CM | 1 |  | 0
| TOTAL | 0
| TOTAL CARRIED SUMMARY | 0
SLAB
Substructure
Site Preparation
A | Clear the site of all available bushes, shrubs and debris and remove 200mm top soil. | SM | 70 |  | 0
Excavations
A | Excavate for foundation trenches starting from reduced level to a depth not exceeding 1500mm deep. | CM | 33 |  | 0
B | Ditto from 1500mm to a depth not exceeding 3000mm | CM | 11 |  | 0
C | Extra over all excavations for breaking up rocks class 1. | CM | 5 |  | 0
Plunking and Strutting
A | Allow for plunking and strutting to sides | ITEM | 1 |  | 0
Concreting
i). Blinding
A | 50mm 1:4:8 concrete Blinding. | SM | 25 |  | 0
B | In situ Vibrated Reinforced Concrete:(mix 1:2:4) 20mm aggregates in foundation | CM | 5 |  | 0
Walling
Approved local natural stone; squarely chisel dressed both sides; bedded and jointed in cement mortar 1:3
A | 200mm thick walls; reinforced with hoop iron gauge 16 in every alternative course. | SM | 50 |  | 0
Disposal of excavated materials
A | Fillings to make up levels around substructure foundation; backfill and compact in 150mm layers selected excavated materials. | CM | 25 |  | 0
B | Remove excavated materials away from the site | CM | 10 |  | 0
Fillings
A | Hardcore fillings to make up levels; levelled and compacted in 150mm layers; handpack hardcore to level. | CM | 18 |  | 0
B | 50mm thick murram blinding | SM | 60 |  | 0
C | Apply 'GLADIATOR 4TC' insecticide solution or other equal and approved; to be applied according to manufacturers instructions to murram surfaces and top of foundation walls | SM | 60 |  | 0
D | BRC Fabric mesh reinforcement A142 including bends, tying wires, spacer blocks; measured net-no allowance made for overlaps. | SM | 60 |  | 0
E | Damp proof course measured net-no allowance made for overlaps | SM | 7 |  | 0
F | 1000 Gauge polythene sheet; measured net no allowance made for overlaps 300mm girth horizontal. | SM | 75 |  | 0
G | Insitu vibrated reinforced concrete (mix 1:2:4) grade 20 (20mm aggregate) in 150mm thick surface bed(slab) | CM | 6 |  | 0
Marine Board Formwork;
A | To edges of slab over 75mm but not exceeding 150mm girth. | LM | 32 |  | 0
Plinths
A | 12mm thick cement and sand render (1:4) on walls wood floated finish. | SM | 10 |  | 0
B | Prepare and apply 3 coats of black bituminous paint on rendered walls externally | SM | 10 |  | 0
Reinforcement
High yield round ribbed bar reinforcement to B.S.4461; Including bends, hooks,tying wire, distance blocks and spacers for columns and foundation footings;-
A | 6mm stirrups | KG | 26 |  | 0
B | 8mm | KG | 26 |  | 0
C | 10mm | KG | 40 |  | 0
| TOTAL CARRIED SUMMARY | 0
2. CONTAINER
a). Purchase
A | Purchase a standard used intermodal 40 ft; high cube; not previously used for storage of any corrosive chemicals, container. (cost includes transportation cost to Kakuma) | NO | 1 |  | 0
| TOTAL | 0
b). Fabrications
i)Windows
A | 1450*1450 window space cut from the container 700 from the bottom level | NO | 4 |  | 0
B | Powder coated Aluminium windows complete with frame, glazing beads, gasket strips, infilled tinted glass, window cills and board, ironmongery and pointed externally. Burglar Proofed. 1450*1450 | NO | 4 |  | 0
ii)Doors
C | 1000*2200 window space cut from the container 100 from the bottom level. | NO | 2 |  | 0
C | Standard steel casement door overall size comprising 40*25*3mm stiles, bottom and top rail and 4NO intermediate rails all primed with red oxide or 3 coats of yellow paint complete with hinges, stays, fasterners, permanent vent with mosquito gauze and sheet metal hood etc assembled and fixed to the openings including cutting and pinning to the container. | NO | 2 |  | 0
| TOTAL | 0
c). Interior Finishes
i)Floor Tile
A | Fix cement board to receive ceramic tile cement | SM | 31 |  | 0
B | three coats of Epoxy paint coating | SM | 31 |  | 0
C | 32mm screed Cement Lime 1:3 to receive ceramic floor tiles | SM | 31 |  | 0
D | 600*600 non slip ceramic tiles | SM | 31 |  | 0
ii)Walls, Ceiling and Partitions
A | 12mm thick gypsum ceiling | SM | 90 |  | 0
B | Gypsum wall frame studs | LM | 315 |  | 0
C | Joint compound "RhinoLite" | KG | 40 |  | 0
D | Fibreglass joint tape | SM | 20 |  | 0
E | Screws and Nails | BOX | 25 |  | 0
F | Corner Beads | LM | 50 |  | 0
G | Prepare and apply three coats plastic emulsion paint to crown paint or equal and approved to all gypsum sides | SM | 85 |  | 0
| TOTAL | 0
3. AIR CONDITIONER
Supply and installation of air conditioning system in the container.
A | Samsung 12000BTU Air Conditioner OR Equivalent | NO | 2 |  | 0
B | Copper Refrigerant Piping | LM | 60 |  | 0
C | Insulated Refrigerant Piping | LM | 60 |  | 0
D | Copper Electrical wiring | LM | 100 |  | 0
E | PVC Electrical conduit | LM | 40 |  | 0
F | Mounting Brackets | Psc | 6 |  | 0
G | Installation of Drainage Pipe | LM | 20 |  | 0
H | Insulation installation | LM | 20 |  | 0
I | Testing and Commission | ITEM | 2 |  | 0
| TOTAL | 0
4. SOLAR SYSTEM
Supply and installation of a solar power system for the two offices;
A | Photovoltaic (PV) solar Panels: (300 watts each) | NO | 3 |  | 0
B | Solar Inverter: (5 kW capacity) | NO | 1 |  | 0
C | Deep Cycle Batteries: (200 Ah each) | NO | 2 |  | 0
D | Solar Panel Mounting Structures: (for roof installation) | NO | 1 |  | 0
E | Solar Panel Cables: (DC cables) | LM | 50 |  | 0
F | Inverter Cables: (AC cables) | LM | 20 |  | 0
G | Battery Interconnect Cables: | LM | 10 |  | 0
H | DC Disconnect Switch: | NO | 1 |  | 0
I | Distribution Board: (for AC circuits) | NO | 1 |  | 0
J | Circuit Breakers: As required (for protection) | NO | 1 |  | 0
K | Monitoring System: | NO | 1 |  | 0
| TOTAL | 0
5. ELECTRICAL WIRING
Supply and installation of electrical wiring for the office
A | PVC Insulated Copper Wire 2.5mm2 | LM | 50 |  | 0
B | Flexible PVC conduits | LM | 50 |  | 0
D | 9W LED light | NO | 8 |  | 0
F | Double Socket Outlets | NO | 8 |  | 0
H | Cable Trunking | LM | 20 |  | 0
| TOTAL | 0
6. Wi-FI installation
A | Intstall a 60MBPS wifi in the office | ITEM | 1 |  | 0
| TOTAL | 0
7. ROOFING
Square Hollow sections; hot rolled structural steel, welded and bolted on rhe container to act as rafters and pullins to support the gable roof sheeting. With all the necessary accessories and bolts.
A | 20*20*2.0 thick(1.19KG/M) | LM | 110 |  | 0
B | pre-painted G.I & ALUZINC metal roofing N.C 11/3" corrugated sheets and BP760 Boxed profiled sheets effective 762mm wide 24 gauge. | SM | 50 |  | 0
Rainwater Goods
A | Gutters, Prepainted 26G*300mm Half round G.I./Aluzinc gutters | LM | 16 |  | 0
B | Downpipes, Prepainted G.I/Aluzinc 26G*110mm diameter round downpipes | LM | 12 |  | 0
C | Gutter brackets and soakaway. | ITEM | 1 |  | 0
| TOTAL | 0
| ITEM | DESCRIPTION |  | TENDERERS USE
| SUPPORT COLUMNS | 1 |  | 0
| SLAB | 2 |  | 0
| CONTAINER | 3 |  | 0
| FABRICATIONS | 4 |  | 0
| INTERIOR FINISHES | 5 |  | 0
| AIR CONDITIONER | 6 |  | 0
| SOLAR SYSTEM | 7 |  | 0
| ELECTRICAL WIRING | 8 |  | 0
| WI-FI INSTALLATION | 9 |  | 0
| ROOFING | 10 |  | 0
| PROVISIONAL SUM | 11
| VAT/Relevant duty | 12
GRAND TOTAL KES INCLUSIVE OF VAT/Other duties
Tenderer's signature
Address