## STAFF HOUSE
Bills of Quantities: Construction of one blocks of ten (10) roomed staff houses at Bidi Bidi Base Campa, Bidi Bidi refugee settlement, Yumbe District
ITEM | DESCRIPTION |  |  |  | AMOUNT (UGX)
MAIN SUMMARY
| SUB TOTAL ONE BLOCK OF STAFF HOUSE 10 ROOMS |  |  |  | 0
| ADD 5% CONTINGENCY |  |  |  | 0
| ADD 18% VAT |  |  |  | 0
| GRAND TOTAL ONE BLOCK STAFF HOUSE |  |  |  | 0
| GRAND TOTAL THREE BLOCK STAFF HOUSE |  |  |  | 0
All unit rates should have applicable taxes as IRC will not pay for any tax not included in the unit
| Signed and stamped : Bidder |  |  | :
| Date: |  |  | :
| Signed and stamped : Employer |  |  | :
| Date: |  |  | :
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
SUMMARY OF BILL
BILL NO. 1 : STAFF HOUSE
| ELEMENT NO. 1 : PRELIMINARIES |  |  |  | 0
| ELEMENT NO. 1 : SUBSTRUCTURE |  |  |  | 0
| ELEMENT NO. 2 : BUILDING FRAME |  |  |  | 0
| ELEMENT NO. 3 : WALLS |  |  |  | 0
| ELEMENT NO. 4 : ROOF STRUCTURE |  |  |  | 0
| ELEMENT NO. 5 : WINDOWS |  |  |  | 0
| ELEMENT NO. 6 : DOORS |  |  |  | 0
| ELEMENT NO. 7 : FLOOR FINISHES |  |  |  | 0
| ELEMENT NO. 8 : WALL FINISHES |  |  |  | 0
| ELEMENT NO. 9 : ROOF FINISHES |  |  |  | 0
| ELEMENT NO. 10 : ROOF WATER DRAINAGE |  |  |  | 0
| ELEMENT NO. 11 : LIGHTNING PROTECTION |  |  |  | 0
| ELEMENT NO. 12 : POWER AND LIGHTING |  |  |  | 0
| STAFF HOUSE CARRIED TO GENERAL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT No. 1
PRELIMINARIES AND GENERAL ITEMS
General
The contractor must allow for costs in his tender in respect of these preliminary and general items by pricing these items
If the contractor leaves any items unpriced, he shall be deemed to have considered that the rates in the remaining items in the bills of quantities are sufficient to perform the services and obligations of these unpriced items
Storage
A | The contractor must provide for the storage of the materials, plant and tools. For materials that are affected by weather, the storage sheds to be provided must be covered to keep out the rain and must be lockable | ITEM | 1 |  | 0
| Total Carried to Collections 1/1 |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
CM to denote cubic meters
SM to denote square meters
LM to denote linear meters
No. to denote enumerated item
KG to denote kilogrammes
SMM to denote the Standard Method of Measurement of Building Works for East Africa, Metric 1970 edition
mm to denote millimeters
BS to denote the current British Standards three months before the date of invitation of this bid
Foreman
The contractor shall allow for a qualified and experienced foreman FULL-TIME on site. The employer's representative shall approve the foreman
Transport
The contractor shall include in his prices the transportation of materials, workmen, plant and tools, to and from site
Samples
The contractor shall furnish, before commencement of works any samples or workmanship at his own cost for approval by the Engineer
Sanitation
B | The contractor shall provide onsite, the necessary latrines for his staff and workmen to the requirements and satisfaction of the health authorities | ITEM | 1 |  | 0
Security AND COVID Prevention Measures
C | The contractor shall adequately safeguard the site, provide for temporary hoarding of the whole site with ironsheets/75% shade nets with movement areas properly cordooned with orange fance to ensure controlled movements within the construction areas including provision of hand washing face masks
0
1 | 75% shade nets | sm | 350 |  | 0
2 | Eclyptus poles for hoarding construction | item | 1 |  | 0
3 | 50L Hand washing facilities for workers | nr | 2 |  | 0
4 | Face masks | nr | 25 |  | 0
6 | Orange fence for coordoning off temporary holding | roll | 1 |  | 0
7 | Personnel to ensure security & Covid 19 control measures enforced on site | person | 1 |  | 0
Plant, tools and scaffolding
D | The contractor shall allow for mobilization and demobilization of plant, equipment, temporary works, personnel, etc | ITEM | 1 |  | 0
| Total Carried to Collections 1/2 |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Water
E | The contractor shall provide for all the necessary water to execute the works at his own cost | ITEM | 1 |  | 0
Project Signage
F | The signage shall painted on to the wall and shall state the project, the funder, and the employer (implementer). | ITEM | 1 |  | 0
G | Site Clearance, leveling and grading
| Upon completion of works, the contractor shall clear off the site of all the debris, level and grade the compound to allow the end user access the completed structure | Item | 1 |  | 0
| Total Carried to Collections 1/3 |  |  |  | 0
COLLECTIONS
| Total Carried to Collections 1/1 |  |  |  | 0
| Total Carried to Collections 1/2 |  |  |  | 0
| Total Carried to Collections 1/3 |  |  |  | 0
| TOTAL PRELIMINARIES & GENERAL ITEMS |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 1: SUBSTRUCTURE
Site Preparation
A | Excavate top vegetable soil average 150mm deep and cart to spoil and excavate to reduce level | m2 | 200 |  | 0
0
B | Anti-termite treatment to : sides and bottoms of foundations | m2 | 280 |  | 0
0
C | Ditto : stripped surfaces of ground | m2 | 200 |  | 0
0
D | Ditto : blinded surfaces of hardcore | m2 | 170 |  | 0
0
| Excavations and Earthworks |  |  |  | 0
0
0
E | Excavate foundation trenches: not exceeding 1.5m deep to a width of 690mm : commencing from stripped level | m3 | 103 |  | 0
0
F | Excavate column bases : not exceeding 1.5m deep : |  |  |  | 0
| commencing from stripped level | m3 | 38.88 |  | 0
0
G | Extra over excavations : breaking up rock met with in excavations | m3 | 4 |  | 0
H | Ditto but splash Apron and Ramp to a depth not exceeding 1.0m and width of 450mm | m3 | 28 |  | 0
| Disposal of excavated materials |  |  |  | 0
0
I | Return, fill and ram: selected excavated materials around |  |  |  | 0
| foundations: in 200mm layers compacted to 95% MDD. | m3 | 70 |  | 0
0
J | Surplus excavated material: Load up, cart, deposit, spread and |  |  |  | 0
| level on site where directed. | m3 | 35 |  | 0
0
| Fillings |  |  |  | 0
0
K | 125mm Murram filling : well watered and compacted to 95% |  |  |  | 0
| MDD 95% : to make up levels under floor bed | m2 | 180 |  | 0
0
L | 150mm Hardcore bed : in broken stone blinded with and |  |  |  | 0
| including 20mm layer of approved blinding ; under floor bed | m2 | 180 |  | 0
0
M | Ditto : under splash aprons and Ramp | m2 | 48 |  | 0
0
| Mass in-situ concrete class15/20mm aggregate, |  |  |  | 0
0
0
M | Foundation in trenches | m3 | 24 |  | 0
0
| Ditto to column footings | m3 | 6.48 |  | 0
N | Ramp : size 4500 x 1200 x 250mm thick (average) | m3 | 1 |  | 0
0
O | 100mm Floor bed | m2 | 198 |  | 0
0
P | 75mm Splash apron bed and Ramp | m2 | 44 |  | 0
0
| Reinforced in-situ concrete class 25/19mm aggregate, |  |  |  | 0
0
| Ground beam | m3 | 8 |  | 0
0
| High yield tensile steel bar reinforcement to BS 4461 as |  |  |  | 0
| described including cutting to lengths, bending, hoisting |  |  |  | 0
| and fixing including all necessary tying wire and spacing |  |  |  | 0
| blocks. |  |  |  | 0
0
C | 12mm Diameter bars | kg | 892.2544 |  | 0
0
| Mild steel bar reinforcement to BS 4461 |  |  |  | 0
0
D | 8mm Diameter bars | kg | 353.0575 |  | 0
0
| Sawn formwork: to |  |  |  | 0
0
E | Sides of ground beam and columns | m2 | 243 |  | 0
0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Mild steel reinforcement to BS 4483
Q | Steel fabric mesh reinforcement ref no. A98 weighing
| 1.58kg/m2: in floor bed: including tying wire and distance blocks | m2 | 198 |  | 0
0
0
| Sawn formwork : to |  |  |  | 0
0
R | Edges of bed : 75 - 150mm width | m | 55 |  | 0
0
S | Soffites of projecting edge of floor bed: not exceeding 75mm girth | m | 55 |  | 0
0
T | Vertical sides of ramp : average 250mm wide cut to profile of ramp | m | 18 |  | 0
0
| Foundation Walls |  |  |  | 0
0
| Hard burnt clay bricks to BS 3921 (3.5N/mm2 compressive |  |  |  | 0
| strength) bedded and jointed in cement and sand (1:3) |  |  |  | 0
| mortar reinforced with two lines of Hoopiron 25mmx3mm. |  |  |  | 0
0
U | 230mm Wall | m2 | 166 |  | 0
0
| Damp proof membrane |  |  |  | 0
0
V | 1000 Gauge polythene sheet damp proof membrane : in one layer |  |  |  | 0
| with 300mm end laps: laid on blinded hardcore (m/s) | m2 | 198 |  | 0
0
0
0
0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Horizontal Damp proof course : hessian based bitumen felt :
lapped 150mm on ends laid on cement and sand (1:3) mortar
bed
A | 230mm Wide : laid under walls | m | 72 |  | 0
0
B | 150mm Wide : laid under walls | m | 44 |  | 0
0
| Plinth finishes |  |  |  | 0
0
C | 15mm Cement and sand (1:3) render : steel trowelled smooth | m2 | 65 |  | 0
0
D | Prepare and apply three coats bituminous or other approved |  |  |  | 0
| water resistant paint to : rendered plinth walls | m2 | 65 |  | 0
0
| Maintenance for excavations |  |  |  | 0
0
E | Allow for upholding and maintaining sides of excavations | sum | 1 |  | 0
0
F | Allow for keeping excavations free from surface water | sum | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
COLLECTION
| Page No. 5/20 |  |  |  | 0
| Page No. 6/20 |  |  |  | 0
| Page No. 7/20 |  |  |  | 0
| TOTAL ELEMENT NO.1 SUBSTRUCTURES CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 2 : BUILDING FRAME
Reinforced in-situ concrete class 25/20mm aggregate,
[mix 1:2:4]: in
A | Ring beam and columns | m3 | 11.9992 |  | 0
0
B | Ditto Lintel | m3 | 1 |  | 0
| High yield tensile steel bar reinforcement to BS 4461 as |  |  |  | 0
| described including cutting to lengths, bending, hoisting |  |  |  | 0
| and fixing including all necessary tying wire and spacing |  |  |  | 0
| blocks. |  |  |  | 0
0
C | 12mm Diameter bars | kg | 898.648 |  | 0
0
| Mild steel bar reinforcement to BS 4461 |  |  |  | 0
0
D | 8mm Diameter bars | kg | 353.0575 |  | 0
0
| Sawn formwork: to |  |  |  | 0
0
E | Sides and soffites : beams and lintel | m2 | 126 |  | 0
0
0
| Precast concrete : class 25/(12mm aggregate) [mix 1:2:4] |  |  |  | 0
| units : reinforced with 250mm wide weld mesh strip : finished |  |  |  | 0
| fair on exposed surfaces: bedded and jointed in cement and |  |  |  | 0
| sand (1:4) mortar |  |  |  | 0
0
F | 325 x 75mm Cill : sunk, weathered and throated | m |  |  | 0
0
| Sundries |  |  |  | 0
0
H | Supply and fix Stanchion poles of 100mm diameter made of Galvanized Iron of Class B with bottom end welded with metal plate of 110mm x110mm of 6mm thickness in and including concrete grade 15 on the base measuring 600mm x600mm x 230mm and with 100x80x6mm U-Plate welded on top end | No |  |  | 0
TOTAL ELEMENT NO.2 (BUILDING FRAME)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 3 : WALLS
Hard burnt clay bricks to BS 3921 (3.5N/mm2 compressive
strength) bedded and jointed in cement and sand (1:3)
mortar.
A | 230mm Wall | m2 | 193 |  | 0
0
B | 150mm Wall | m2 | 166 |  | 0
0
C | Allow for labour and materials for eaves filling in 230mm walls: |  |  |  | 0
| average 225mm high | m | 66 |  | 0
0
| 150mm Hard burnt clay vent bricks to BS 3921 (3.5N/mm2 |  |  |  | 0
| compressive strength) bedded, jointed and pointed in cement |  |  |  | 0
| and sand (1:3) mortar in |  |  |  | 0
0
D | Vent : size 230 x 450mm complete with bat wiremesh | nr | 2 |  | 0
0
0
0
TOTAL ELEMENT NO.3 (WALLS)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 4 : ROOF
Structural timbers:
Sawn cypress or other approved: pressure impregnated
with Tanalith or other approved
The following in 11No. Truss : 10000mm clear span x 2041mm
rise : nailed together, hoisted and fixed 3.0m above ground
A | 150 x 50mm Rafter | m | 135 |  | 0
0
B | 100 x 50mm Struts/Ties | m | 163 |  | 0
0
C | 150 x 50mm Tie beam | m | 132 |  | 0
0
| [End of 11no. Truss] |  |  |  | 0
0
D | 75 x 50mm Purlins | m | 264 |  | 0
0
E | 100 x 75mm Wall plate | m | 82 |  | 0
F | 150 x 50mm on top of the stanchion poles | m |  |  | 0
TOTAL ELEMENT NO.4 (ROOF STRUCTURE)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 5 : WINDOWS
Purpose made steel casement to BS 990 : frames and glazing
primed with one coat red oxide primer before fixing :
complete with fixing lugs built into walls
A | Window size W1 1200 x 1500mm high overall : comprising 300mm
high steel louvred vent for full width : 2No side hung opening sash
| size 500 x 1200mm : all divided in panes 0.1 - 0.5mm2. | nr | 10 |  | 0
0
B | Ditto but Window W2 size : 450 x 700mm high overall : comprising 300mm high steel louvred vent for full width : 1No. top-hung opening middle sash and 1No. Fixed bottom sash size 350mm x 400mm : all divided in panes 0.1 - 0.5mm2 | nr |  |  | 0
0
0
| Iron mongery and matching fixings |  |  |  | 0
0
C | Fastener | nr | 20 |  | 0
0
D | Stay | nr | 20 |  | 0
0
| Ordinary quality (OQ) clear sheet glass and glazing |  |  |  | 0
0
E | 4mm Glass : Glazing to metal casement panes 0.1 - 0.5mm2 with |  |  |  | 0
| tropical glazing putty | m2 | 28 |  | 0
0
| Painting |  |  |  | 0
0
| Prepare touch up primer and apply one coat undercoat and |  |  |  | 0
| two finishing coats of gloss oil paint : on metal |  |  |  | 0
0
G | Glazed casement windows (measured flat both faces) | m2 | 20 |  | 0
0
| Prepare touch up primer and apply one coat undercoat and |  |  |  | 0
| two finishing coats of gloss oil paint : on concrete |  |  |  | 0
0
H | Window Cills : 325 x 75mm average | m |  |  | 0
0
| Cement and sand (1:4) |  |  |  | 0
0
I | 15mm Plaster to reveals : average 200 - 300mm wide: steel |  |  |  | 0
| trowelled smooth | m | 68 |  | 0
0
| Prepare and apply three coats weather guard emulsion |  |  |  | 0
| paint : to |  |  |  | 0
0
J | Plastered surfaces of reveals 200 - 300mm wide : external | m | 68 |  | 0
0
| Prepare surfaces: apply three coats vinyl silk soft white |  |  |  | 0
| emulsion paint: on steel trowelled plaster: to |  |  |  | 0
0
K | Plastered surfaces of reveals 200 - 300mm wide : internal | m | 68 |  | 0
| Curtain Boxes |  |  |  | 0
L | Pelmet box comprising 150 x 25mm Fascia, 125 x 25mm top 150 x 125 x 25mm stopped ends jointed together, complete with and including I-section aluminium curtain rail with rollers | m | 35 |  | 0
TOTAL ELEMENT NO.5 (WINDOWS)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 6 : DOORS
Purpose made steel door : Door frame profiles sections framing and clad faced/fabricated with 1.5mm steel plates : complete with hinges, frame and fixing lugs built into wall.
A | Door type D1: 45mm casement-type door and frame : size 900 x 2400mm high overall : comprising 300mm high steel louvred vent for full width : single door shutter size 900 x 2100mm high | nr | 10 |  | 0
0
B | Door type D2: 45mm Metallic solid door and frame : size 800 x 2100mm high overall : comprising 300mm high steel louvred vent for full width : door shutter size 750 x 2100mm high | nr |  |  | 0
0
0
0
0
| Knot prime stop and apply one coat undercoat and two |  |  |  | 0
| finishing coats gloss oil paint |  |  |  | 0
0
0
C | Prepare touch up primer and apply one undercoat and two |  |  |  | 0
| finishing coats of gloss oil paint: metal doors surfaces | m2 | 23 |  | 0
0
| Supply and fix: English "Union" or other equal |  |  |  | 0
| approved ironmongery: matching screws: locks to include |  |  |  | 0
| a set of 3 keys. (Prices of locks to be inclusive of handles) |  |  |  | 0
0
D | 38mm Diameter rubber door stops appropriately screwed to walls of floors | nr | 10 |  | 0
0
E | Toe-Bolt complete with 75mm padlock | nr | 10 |  | 0
0
F | Mortice locks | nr |  |  | 0
0
0
| Cement and sand (1:4) |  |  |  | 0
0
H | 15mm Plaster to reveals : average 200 - 300mm wide: steel |  |  |  | 0
| trowelled smooth | m | 122 |  | 0
0
| Prepare and apply three coats weather guard emulsion |  |  |  | 0
| paint : to |  |  |  | 0
0
I | Plastered surfaces of reveals 200 - 300mm wide : external | m | 55 |  | 0
0
| Prepare surfaces: apply three coats vinyl silk soft white |  |  |  | 0
| emulsion paint: on steel trowelled plaster: to |  |  |  | 0
J | Plastered surfaces of reveals 200 - 300mm wide : internal | m | 55 |  | 0
| Prepare and apply three coats of polyurethane lacquer: on woodwork |  |  |  | 0
0
K | General surfaces of pelmet boxes | m2 | 5 |  | 0
TOTAL ELEMENT NO.6 (DOORS)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 7 : FLOOR FINISHES
Cement and sand screed (1:3) finished smooth
A | 30mm thick screed including cement grout finised smooth with steel float | m2 | 186 |  | 0
0
0
| Polished ceramic coloured tiles; bedding and jointing in cement /adhesive mortar (1:4); grouting joints with matching coloured cement; 400 x 400 x 10 mm thick; |  |  |  | 0
0
A1 | To floors and verandas generally; | m2 |  |  | 0
0
A2 | To skirtings; 100 mm high and 10mm thick with plastic strip on the top edge | m |  |  | 0
Ceiling Finishes
Sawn cypress or other equal approved including necessary suspension system: well seasoned cellcured: selected and kept clean
B | 100 x 50 ceiling battens at perimeter, plugged | m | 150 |  | 0
C | Ceiling brandering 100 x 50 mm members one way set into timber truss and tie members and 100 x 50 members at 600 centres other way | m | 446 |  | 0
D | Supply and fix 600 x 600 mm access panel with sides cut bavelled to | nr | 4 |  | 0
45 degrees and fixed on and including painting to all exposed surfaces
E | 9 x 24 SWG galvanized expanded metal lathing U-nailed to timber branderings | m2 | 186 |  | 0
F | Cement and sand (1:4) pricking course to metal lathing | m2 | 176 |  | 0
G | 12mm cement and sand plaster to ceiling | m2 | 176 |  | 0
H | Extra for 150 x 20mm thick cement and sand (1:3) cornice | m | 194 |  | 0
I | Prepare and apply three coats of plastic emulsion paint plastered ceiling | m2 | 186 |  | 0
J | Ditto but cornice | m | 194 |  | 0
TOTAL ELEMENT NO.7 (FLOOR FINISHES)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 8 : WALL FINISHES
External wall finishes
Cement and sand (1:4)
A | 20mm Render in two coats : wood float finished first coat and final coat tyrolean (rough cast) finish | m2 | 144 |  | 0
B | Ditto 300 x 10mm Rendered skirt but finished smooth with steel trowel | m | 44 |  | 0
Prepare surfaces: apply three coats weather guard emulsion paint
C | Rendered surfaces : walls | m2 | 144 |  | 0
Prepare and apply three coats bituminous paint on
D | Skirting | m | 55 |  | 0
Internal wall finishes
Cement sand (1:4):
E | 15mm Plaster to : Walls and Concrete surfaces : steel
| trowelled smooth. | m2 | 426 |  | 0
Prepare surfaces: apply three coats vinyl silk soft white
emulsion paint: on steel trowelled white cement plaster: to
F | Walls and concrete surfaces internally | m2 | 426 |  | 0
TOTAL ELEMENT NO.8 (WALL FINISHES)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 9 : ROOF FINISHES
Prime grade joinery timber: wrot pine
A | 225 x 20mm Fascia and barge board | m | 63 |  | 0
28 Gauge pre-coated brick red corrugated galvanised iron roofing sheets fixed: 1 1/2 corrugations side laps: fixed to timber purlins (m/s) with galvanised iron drive screws with washers.
B | Roof covering | m2 | 220 |  | 0
C | Matching ridge caping | m | 20 |  | 0
Knot prime stop and apply one coat undercoat and two
finishing coats gloss oil paint on wood
D | Surfaces 200 - 300mm girth : fascia and barge boards | m | 63 |  | 0
TOTAL ELEMENT NO.9 (ROOF FINISHES)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 10 : ROOF WATER DRAINAGE
Supply and fix : rainwater disposal system
uPVC Gutter to BS 4576
A | 110mm Streamline gutter complete with gutter unions fascia
| clips for fixing to fascia | m | 44 |  | 0
Extra over gutter for :
C | 110mm Stop ends | nr | 3 |  | 0
D | 110 x 75mm Gutter outlets | nr | 2 |  | 0
uPVC Down pipe to BS 4576
E | 80mm Diameter rain water down pipe : clipped to walls with
| approved holder bats | nr | 2 |  | 0
Extra over down pipe for :
F | Bend : 80mm x 90o. | nr | 6 |  | 0
G | 100mm Shoe | nr | 4 |  | 0
The following in 5,000L rainwater storage tank
Tank base
H | Excavate top vegetable soil average 150mm deep and cart to spoil | m2 | 9 |  | 0
I | Anti-termite treatment to : sides and bottoms of foundations | m2 | 14 |  | 0
J | Ditto : blinded surfaces of hardcore | m2 | 6 |  | 0
K | Excavate foundation trenches: not exceeding 1.5m deep :
| commencing from stripped level | m3 | 3 |  | 0
L | Return, fill and ram : selected excavated materials around
| foundations: in 200mm layers compacted to 95% MDD. | m3 | 1 |  | 0
M | Surplus excavated material : Load up, cart, deposit, spread and
| level on site where directed. | m3 | 2 |  | 0
N | 125mm Murram filling : well watered and compacted to 95%
| MDD 95% : to make up levels under floor bed | m3 | 3 |  | 0
O | 150mm Hardcore bed : in broken stone blinded with and
| including 20mm layer of approved blinding ; under floor bed | m2 | 3 |  | 0
P | Plain concrete class 15/20mm aggregate, (mix 1:3:6) in : | m2 | 2 |  | 0
foundation in trenches 100mm thick
Q | Ditto : 100mm Floor bed | m2 | 9 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
A | Sawn form work to : edges of bed : 75 - 150mm width | m | 10 |  | 0
B | 230mm Wall : built to a radius of 1.07m : in hard burnt clay bricks
| bedded and jointed in cement and sand (1:4) mortar | m2 | 6 |  | 0
C | 15mm Cement and sand (1:4) render : steel trowelled smooth | m2 | 6 |  | 0
D | 5,000 Litre HDPE water tank | nr | 1 |  | 0
E | 32mm Diameter Bip tap : complete with a stop valve | nr | 1 |  | 0
F | 300mm x 32mm Diameter overflow pipe | nr | 1 |  | 0
G | 1700mm x 32mm Diameter pipe : Wash out complete with stop
| valves | nr | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Page No. 17/21 |  |  |  | 0
| Page No. 18/21 |  |  |  | 0
TOTAL ELEMENT NO.10 (ROOF WATER DRAINAGE)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 11 : LIGHTNING PROTECTION
Supply, install, connect and set to work the following, all
as described in the Specifications and Drawings
Earthing
A | Inspection chamber : size 300mm x 300mm internal dimension :
| complete with lid. | nr | 1 |  | 0
Lightning Protection
B | 25mm x 3mm Copper tape. | m | 8 |  | 0
C | 25mm x 3mm Aluminium tape. | m | 6 |  | 0
D | 1200mm x 20mm Solid Copper bond earth rod : complete with
| couplers and driving tips | nr | 1 |  | 0
E | Bi-metallic connector. | nr | 1 |  | 0
F | Type A rod to clamp. | nr | 1 |  | 0
G | 25mm x 3mm Copper square test clamp. | nr | 1 |  | 0
H | Air terminals complete with tape adapter and all accessories | nr | 1 |  | 0
TOTAL ELEMENT NO.11 (LIGHTNING PROTECTION)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO. 12
ELECTRICAL INSTALLATION
Lighting
F | Lighting points wired by 1.5mm2 twin with earth PVC-I copper cables in existing 20mm pvc conduits. | no | 24 |  | 0
G | 5W energy saving solar bulb fitting complete with all accessories as Thorn or equal approved.(F1) | no | 20 |  | 0
0
| 10W energy saving solar bulb fitting in Bulkhead and all accessories as Thorn or equal approved.(F1) | no | 4 |  | 0
J | 6A 1 gang 1 way moulded switch as MK or approved equal. | no | 10 |  | 0
K | 6A 1 2gang 1 way moulded switch as MK or approved equal. | no | 2 |  | 0
Sockets
L | Socket outlet point wired by 2.5mm2 twin with earth PVC-I copper cables in 20mm pvc conduits and all accessories. | no | 10 |  | 0
M | 13A 2gang switched socket outlet as MK, in MK boxes complete with all accessories. | no | 10 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Solar Power.
Solar Power Supply
N | Solar Panel, with Peak power of 200W, Max.Current of 4.5A, Max. Voltage of 17V DC, Short circuit current of 4.8A, Open circuit voltage of 21.4V DC, as SIEMENS SP75, BP SOLAR BP 275 or equal approved. | no | 6 |  | 0
0
O | Steel supporting structure for solar panels mounted on the roof at an Optimum tilt angle to be determined by site location, complete with brackets and all accessories. | no | 1 |  | 0
0
P | 63A 4-Way SPN MCB Consumer Unit flush mounting complete with integral isolator, MCBs and all accessories as MEM, CRABTREE or equal approved. | no | 1 |  | 0
0
Q | Charge Regulator with System voltage 12V / 24V DC, Max Module and Load Current of 60A, as by Steca GmbH Memmingen (Germany) or equal approved. | no | 1 |  | 0
0
R | Inverter of Max. DC Power of 2000W, Max. Current of 14A DC / AC, Max Voltage at no load of 175V DC, as GRUDFOS (Germany) SA 1500 v03 or equal approved. | no | 1 |  | 0
0
S | Deep Cycle Maintenance Free Solar Batteries, of 200AH, 12V / 24V, as DELCO 2000 by Steca GmbH Memmingen (Germany) or equal approved. | no | 3 |  | 0
0
T | Battery cable with fuse and interconnecting cables to Consumer unit. | item | 1 |  | 0
0
U | Earth installation by 25mm2 PVC copper cables to copper electrode in manhole complete with all accessories. | item | 1 |  | 0
0
V | Supply Cable 25mm2 x 3core PVC/SWA/PVC Copper cables in 25mm PVC concealed conduits complete with terminations clipping and all accessories from battery battery bank to Solar power Consumer Unit CU2. | m | 15 |  | 0
0
0
| Total Carried to Collection |  |  |  | 0
| COLLECTIONS |  |  |  | 0
Total carried to collections 1/2
| Total carried to collections 2/2 |  |  |  | 0
| TOTAL ELEMENT NO. 12 (POWER AND LIGHTING) CARRIED TO BILL SUMMERY |  |  |  | 0