## Kyaka staff accommodation
Bills of Quantities: Completion of eight (8) roomed staff accommodation in Kyaka II, Kygegwa District
ITEM | DESCRIPTION |  |  |  | AMOUNT (UGX)
MAIN SUMMARY
| TOTAL ONE STAFF ACCOMMODATION |  |  |  | 0
| GRAND TOTAL Accommodation BLOCK Kyaka TO BID FORM |  |  |  | 0
All unit rates should have applicable taxes as IRC will not pay for any tax not included in the unit
| Signed and stamped : Bidder |  |  | :
| Date: |  |  | :
| Signed and stamped : Employer |  |  | :
| Date: |  |  | :
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
SUMMARY OF BILL
Accommodation BLOCK Kyaka
| ELEMENT NO. 1 : PRELIMINARIES |  |  |  | 0
| ELEMENT NO. 2 : SUBSTRUCTURE |  |  |  | 0
| ELEMENT NO. 3 : BUILDING FRAME |  |  |  | 0
| ELEMENT NO. 4 : WALLS |  |  |  | 0
| ELEMENT NO. 5 : ROOF STRUCTURE |  |  |  | 0
| ELEMENT NO. 6 : WINDOWS |  |  |  | 0
| ELEMENT NO. 7 : DOORS |  |  |  | 0
| ELEMENT NO. 8 : FLOOR FINISHES |  |  |  | 0
| ELEMENT NO. 9 : WALL FINISHES |  |  |  | 0
| ELEMENT NO. 10 : ROOF FINISHES |  |  |  | 0
| ELEMENT NO. 11 : ROOF WATER DRAINAGE |  |  |  | 0
| ELEMENT NO. 12 : LIGHTNING PROTECTION |  |  |  | 0
| ELEMENT NO. 13 : POWER AND LIGHTING |  |  |  | 0
| ELEMENT NO. 14: MECHANICAL INSTALLATION |  |  |  | 0
| Accommodation BLOCK CARRIED TO MAIN SUMMARY PAGE |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT No. 1
PRELIMINARIES AND GENERAL ITEMS
General
The contractor must allow for costs in his tender in respect of these preliminary and general items by pricing these items
If the contractor leaves any items unpriced, he shall be deemed to have considered that the rates in the remaining items in the bills of quantities are sufficient to perform the services and obligations of these unpriced items
All unit rates should have applicable taxes as IRC will not pay for any tax not included in the unit
Storage
A | The contractor must provide for the storage of the materials, plant and tools. For materials that are affected by weather, the storage sheds to be provided must be covered to keep out the rain and must be lockable | ITEM | 1 |  | 0
| Total Carried to Collections 1/1 |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
CM to denote cubic meters
SM to denote square meters
LM to denote linear meters
No. to denote enumerated item
KG to denote kilogrammes
SMM to denote the Standard Method of Measurement of Building Works for East Africa, Metric 1970 edition
mm to denote millimeters
BS to denote the current British Standards three months before the date of invitation of this bid
Foreman
The contractor shall allow for a qualified and experienced foreman FULL-TIME on site. The employer's representative shall approve the foreman
Transport
The contractor shall include in his prices the transportation of materials, workmen, plant and tools, to and from site
Samples
The contractor shall furnish, before commencement of works any samples or workmanship at his own cost for approval by the Engineer
Sanitation
B | The contractor shall provide onsite, the necessary latrines for his staff and workmen to the requirements and satisfaction of the health authorities | ITEM | 1 |  | 0
Security AND COVID Prevention Measures
C | The contractor shall adequately safeguard the site, provide for temporary hoarding of the whole site with ironsheets/75% shade nets with movement areas properly cordooned with orange fance to ensure controlled movements within the construction areas including provision of hand washing face masks
0
1 | 75% shade nets | sm | 310 |  | 0
2 | Eclyptus poles for hoarding construction | item | 1 |  | 0
3 | 50L Hand washing facilities for workers | nr | 1 |  | 0
4 | Face masks | nr | 25 |  | 0
6 | Orange fence for coordoning off temporary holding | roll | 1 |  | 0
7 | Personnel to ensure security & Covid 19 control measures enforced on site | person | 1 |  | 0
Plant, tools and scaffolding
D | The contractor shall allow for mobilization and demobilization of plant, equipment, temporary works, personnel, etc | ITEM | 1 |  | 0
| Total Carried to Collections 1/2 |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Water
E | The contractor shall provide for all the necessary water to execute the works at his own cost | ITEM | 1 |  | 0
Project Signage
F | The signage shall painted on to the wall and shall state the project, the funder, and the employer (implementer). | ITEM | 1 |  | 0
G | Site Clearance, leveling and grading
| Upon completion of works, the contractor shall clear off the site of all the debris and keep site secured with temporary perimeter fence to ensure safety and security | Item | 1 |  | 0
| Total Carried to Collections 1/3 |  |  |  | 0
COLLECTIONS
| Total Carried to Collections 1/1 |  |  |  | 0
| Total Carried to Collections 1/2 |  |  |  | 0
| Total Carried to Collections 1/3 |  |  |  | 0
| TOTAL PRELIMINARIES & GENERAL ITEMS |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 2: SUBSTRUCTURE
Site Preparation
A | Excavate top vegetable soil average 150mm deep and cart to spoil | m2 | 60.8 |  | 0
B | Anti-termite treatment to : sides and bottoms of foundations | m2 | 60.8 |  | 0
C | Ditto : stripped surfaces of ground | m2 | 60.8 |  | 0
D | Ditto : blinded surfaces of hardcore | m2 | 0 |  | 0
Excavations and Earthworks
E | Excavate foundation trenches: not exceeding 1.5m deep to a width of 690mm : commencing from stripped level | m3 | 31.4226 |  | 0
F | Excavate column bases : not exceeding 1.5m deep :
| commencing from stripped level | m3 | 0 |  | 0
G | Extra over excavations : breaking up rock met with in excavations | m3 | 1 |  | 0
H | Ditto but splash Apron and Ramp to a depth not exceeding 1.0m and width of 450mm | m3 | 31.4226 |  | 0
Disposal of excavated materials
I | Return, fill and ram: selected excavated materials around
| foundations: in 200mm layers compacted to 95% MDD. | m3 | 41.8968 |  | 0
J | Surplus excavated material: Load up, cart, deposit, spread and
| level on site where directed. | m3 | 13.9656 |  | 0
Fillings
K | 125mm Murram filling : well watered and compacted to 95%
| MDD 95% : to make up levels under floor bed | m2 | 72.96 |  | 0
L | 150mm Hardcore bed : in broken stone blinded with and
| including 20mm layer of approved blinding ; under floor bed | m2 | 72.96 |  | 0
M | Ditto : On splash aprons and Ramp | m2 | 20.9484 |  | 0
Mass in-situ concrete class15/20mm aggregate,
[mix 1:3:6] : in
M | Foundation in trenches | m3 | 6.9828 |  | 0
Reinforced in-situ concrete class 25/20mm aggregate,
[mix 1:2:4]: in
N | Foundation beam | m3 | 11 |  | 0
Mass in-situ concrete class 15/20mm aggregate,
[mix 1:3:6] : in
O | Ramp : size 4500 x 1200 x 250mm thick (average) | m3 | 1.6082 |  | 0
P | 100mm Floor bed | m2 | 2.84 |  | 0
Q | 75mm Splash apron bed and Ramp | m2 | 2.84 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Mild steel reinforcement to BS 4483
Q | Steel fabric mesh reinforcement ref no. A98 weighing
| 1.58kg/m2: in floor bed: including tying wire and distance blocks | m2 | 80.12 |  | 0
Sawn formwork : to
R | Edges of bed : 75 - 150mm width | m | 30.4 |  | 0
S | Soffites of projecting edge of floor bed: not exceeding 75mm girth | m | 10 |  | 0
T | Vertical sides of ramp : average 250mm wide cut to profile of ramp | m | 12 |  | 0
Foundation Walls
Hard burnt clay bricks to BS 3921 (3.5N/mm2 compressive
strength) bedded and jointed in cement and sand (1:3)
mortar reinforced with two lines of Hoopiron 25mmx3mm.
U | 230mm Wall | m2 | 36.48 |  | 0
Damp proof membrane
V | 1000 Gauge polythene sheet damp proof membrane : in one layer
| with 300mm end laps: laid on blinded hardcore (m/s) | m2 | 92.2226 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
Horizontal Damp proof course : hessian based bitumen felt :
lapped 150mm on ends laid on cement and sand (1:3) mortar
bed
A | 230mm Wide : laid under walls | m | 68 |  | 0
B | 150mm Wide : laid under walls | m | 7.2 |  | 0
Plinth finishes
C | 15mm Cement and sand (1:3) render : steel trowelled smooth | m2 | 60.8 |  | 0
D | Prepare and apply three coats bituminous or other approved
| water resistant paint to : rendered plinth walls | m2 | 60.8 |  | 0
Maintenance for excavations
E | Allow for upholding and maintaining sides of excavations | sum | 1 |  | 0
F | Allow for keeping excavations free from surface water | sum | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
COLLECTION
| Page No. 5/20 |  |  |  | 0
| Page No. 6/20 |  |  |  | 0
| Page No. 7/20 |  |  |  | 0
| TOTAL ELEMENT NO.2 SUBSTRUCTURES CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 3 : REINFORCED CONCRETE FRAME
Reinforced in-situ concrete class 25/20mm aggregate,
[mix 1:2:4]: in
A | Column and Ring beam | m3 | 6.147 |  | 0
B | Ditto Lintel | m3 | 0.99784 |  | 0
High yield tensile steel bar reinforcement to BS 4461 as
described including cutting to lengths, bending, hoisting
and fixing including all necessary tying wire and spacing
blocks.
C | 12mm Diameter bars | kg | 412.7424 |  | 0
Mild steel bar reinforcement to BS 4461
D | 8mm Diameter bars | kg | 530.1148 |  | 0
Sawn formwork: to
E | Sides and soffites : beams and lintel | m2 | 76.692 |  | 0
Precast concrete : class 25/(12mm aggregate) [mix 1:2:4]
units : reinforced with 250mm wide weld mesh strip : finished
fair on exposed surfaces: bedded and jointed in cement and
sand (1:4) mortar
F | 325 x 75mm Cill : sunk, weathered and throated | m | 19.2 |  | 0
Sundries
H | Supply and fix Stanchion poles of 100mm diameter made of Galvanized Iron of Class B with bottom end welded with metal plate of 110mm x110mm of 6mm thickness in and including concrete grade 15 on the base measuring 600mm x600mm x 230mm and with 100x80x6mm U-Plate welded on top end | No | 0 |  | 0
TOTAL ELEMENT NO.3 (BUILDING FRAME)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 4 : WALLS
Hard burnt clay bricks to BS 3921 (3.5N/mm2 compressive
strength) bedded and jointed in cement and sand (1:3)
mortar.
A | 230mm Wall | m2 | 44.38 |  | 0
B | 150mm Wall | m2 | 75.6 |  | 0
C | Allow for labour and materials for eaves filling in 230mm walls:
| average 225mm high | m | 55.92 |  | 0
150mm Hard burnt clay vent bricks to BS 3921 (3.5N/mm2
compressive strength) bedded, jointed and pointed in cement
and sand (1:3) mortar in
D | Vent : size 230 x 450mm complete with bat wiremesh | nr |  |  | 0
TOTAL ELEMENT NO.4 (WALLS)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 5 : ROOF
Structural timbers:
Sawn cypress or other approved: pressure impregnated
with Tanalith or other approved
The following in 10No. Truss : 10000mm clear span x 2041mm
rise : nailed together, hoisted and fixed 3.0m above ground
A | 150 x 50mm Rafter | m | 131.6 |  | 0
B | 100 x 50mm Struts/Ties | m | 440 |  | 0
C | 150 x 50mm Tie beam | m | 101 |  | 0
[End of 24 no. Truss]
D | 75 x 50mm Purlins | m | 245 |  | 0
E | 100 x 75mm Wall plate | m | 115.7 |  | 0
F | 150 x 50mm on top of the stanchion poles | m | 0 |  | 0
TOTAL ELEMENT NO.5 (ROOF STRUCTURE)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 6 : WINDOWS
Purpose made steel casement to BS 990 : frames and glazing
primed with one coat red oxide primer before fixing :
complete with fixing lugs built into walls
A | Window size W1 1200 x 1500mm high overall : comprising 300mm
high steel louvred vent for full width : 2No side hung opening sash
| size 500 x 1400mm : all divided in panes 0.1 - 0.5mm2. | nr | 8 |  | 0
B | Ditto but Window W2 size : 600 x 900mm high overall : comprising 300mm high steel louvred vent for full width : 2No side hung opening sash | nr | 8 |  | 0
C | Ditto but Window W3 size : 1000 x 1400mm high overall : comprising 300mm high steel louvred vent for full width : 2No side hung opening sash | nr | 0 |  | 0
D | Ditto but Window W4 size : 600 x 900mm high overall : comprising 300mm high steel louvred vent for full width : 1No side hung opening sash | nr |  |  | 0
Iron mongery and matching fixings
E | Fastener | nr | 32 |  | 0
F | Stay | nr | 16 |  | 0
Ordinary quality (OQ) clear sheet glass and glazing
G | 4mm Glass : Glazing to metal casement panes
| 0.1 - 0.5mm2 with tropical glazing putty | m2 | 14.4 |  | 0
Painting
Prepare touch up primer and apply one coat undercoat and
two finishing coats of gloss oil paint : on metal
H | Glazed casement windows (measured flat both faces) | m2 | 28.8 |  | 0
Prepare touch up primer and apply one coat undercoat and
two finishing coats of gloss oil paint : on concrete
I | Window Cills : 325 x 75mm average | m | 6.4 |  | 0
Cement and sand (1:4)
J | 15mm Plaster to reveals : average 200 - 300mm wide: steel
| trowelled smooth | m | 76.8 |  | 0
Prepare and apply three coats weather guard emulsion
paint : to
K | Plastered surfaces of reveals 200 - 300mm wide : external | m | 76.8 |  | 0
Prepare surfaces: apply three coats vinyl silk soft white
emulsion paint: on steel trowelled plaster: to
L | Plastered surfaces of reveals 200 - 300mm wide : internal | m | 76.8 |  | 0
Curtain Rails (curtain poles)
M | Chrome circular spiral finished golden yellow curtail rails 28mm diameter with stopped ends, complete with and curtain rail wall holders holders prefered) | m | 30 |  | 0
TOTAL ELEMENT NO.6 (WINDOWS)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 7 : DOORS
Purpose made steel door : Door frame profiles sections framing and clad faced/fabricated with 1.5mm steel plates : complete with hinges, frame and fixing lugs built into wall.
A | Door type D1: 45mm casement-type door and frame : size 900x 2400mm high overall : comprising 300mm high steel louvred vent for full width : single door shutter size 1200x 2100mm high | nr | 8 |  | 0
0
B | D2: 1.5mm steel door frame and flash door shutter: size 900 x 2400mm high overall : comprising 300mm high steel louvred vent for full width : Single door shutter size 900 x 2100mm high | nr | 8 |  | 0
0
C | Door type D3 45mm half casement and half metalic -type door and frame : size 900x 2400mm high overall : comprising 300mm high steel louvred vent for full width : single door shutter size 900x 2100mm high | nr |  |  | 0
D | Ditto type D4: 45mm solid timder mohagany -type door and frame : size 900 x 2100mm high overall : wdth : Single door shutter size 900 x 2100mm high | nr |  |  | 0
Knot prime stop and apply one coat undercoat and two
finishing coats gloss oil paint
E | Prepare touch up primer and apply one undercoat and two
| finishing coats of gloss oil paint: metal doors surfaces | m2 | 69.12 |  | 0
Supply and fix: English "Union" or other equal
approved ironmongery: matching screws: locks to include
a set of 3 keys. (Prices of locks to be inclusive of handles)
F | 38mm Diameter rubber door stops appropriately screwed to walls of floors | nr | 16 |  | 0
G | Toe-Bolt complete with 75mm padlock | nr | 0 |  | 0
H | Mortice locks | nr | 16 |  | 0
Cement and sand (1:4)
I | 15mm Plaster to reveals : average 200 - 300mm wide: steel
| trowelled smooth | m | 211.2 |  | 0
Prepare and apply three coats weather guard emulsion
paint : to
J | Plastered surfaces of reveals 200 - 300mm wide : external | m | 211.2 |  | 0
| Prepare surfaces: apply three coats vinyl silk soft white |  |  |  | 0
emulsion paint: on steel trowelled plaster: to
K | Plastered surfaces of reveals 200 - 300mm wide : internal | m | 211.2 |  | 0
Prepare and apply three coats of polyurethane lacquer: on woodwork
L | General surfaces of pelmet boxes | m2 | 0 |  | 0
TOTAL ELEMENT NO.7 (DOORS)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 8 : FLOOR FINISHES
Cement and sand screed (1:3) finished smooth
A | 30mm thick screed including cement grout | m2 | 164.63 |  | 0
Polished ceramic coloured tiles; bedding and jointing in cement /adhesive mortar (1:4); grouting joints with matching coloured cement; 400 x 400 x 10 mm thick;
A1 | To floors and verandas generally; | m2 | 164.63 |  | 0
0
A2 | To skirtings; 100 mm high and 10mm thick with plastic strip on the top edge | m | 271.84 |  | 0
A3 | Terazzo finishes to the toilet floor and selected places | m2 | 0 |  | 0
Ceiling Finishes
Sawn cypress or other equal approved including necessary suspension system: well seasoned cellcured: selected and kept clean
B | 100 x 50 ceiling battens at perimeter, plugged | m | 271.84 |  | 0
C | Ceiling brandering 100 x 50 mm members one way set into timber truss and tie members and 100 x 50 members at 600 centres other way | m | 718.9583 |  | 0
D | Supply and fix 600 x 600 mm access panel with sides cut bavelled to | nr | 4 |  | 0
45 degrees and fixed on and including painting to all exposed surfaces
E | 9 x 24 SWG galvanized expanded metal lathing U-nailed to timber branderings | m2 | 164.63 |  | 0
F | Cement and sand (1:4) pricking course to metal lathing | m2 | 164.63 |  | 0
G | 12mm cement and sand plaster to ceiling | m2 | 164.63 |  | 0
H | Extra for 150 x 20mm thick cement and sand (1:3) cornice | m | 271.84 |  | 0
I | Prepare and apply three coats of plastic emulsion paint plastered ceiling | m2 | 164.63 |  | 0
J | Ditto but cornice | m | 271.84 |  | 0
TOTAL ELEMENT NO.8 (FLOOR FINISHES)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 9 : WALL FINISHES
External wall finishes
Cement and sand (1:4)
A | 20mm Render in two coats : wood float finished final coat | m2 | 133.34 |  | 0
B | Ditto 300 x 10mm Rendered skirt but finished smooth with steel trowel | m | 41.6688 |  | 0
Prepare surfaces: apply three coats weather guard emulsion paint
C | Rendered surfaces : walls | m2 | 133.34 |  | 0
Prepare and apply three coats bituminous paint on
D | Skirting | m | 41.6688 |  | 0
Internal wall finishes
Cement sand (1:4):
E | 15mm Plaster to : Walls and Concrete surfaces : steel
| trowelled smooth. | m2 | 268.8 |  | 0
Prepare surfaces: apply three coats vinyl silk soft white
emulsion paint: on steel trowelled white cement plaster: to
F | Walls and concrete surfaces internally | m2 | 268.8 |  | 0
G | Walls tiles internally to washrooms | m2 | 0 |  | 0
H | BALUSTRADING |  | 0 |  | 0
| Supply and fix balustrading 1000mm high comprising of: 75mm diameter x 6mm thick mild steel hollow section railing; welded to 6mm thick mild steel bearer balustrade cut to shape cast into concrete at 450mm centers; 25mm diameter CHS metal intermediate rails; 12mm diameter steel solid section vertical post at 115mm centres all painting and decorations: to Architect's detailed drawing | LM | 26.4 |  | 0
TOTAL ELEMENT NO.9 (WALL FINISHES)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 10 : ROOF FINISHES
Prime grade joinery timber: wrot pine
A | 225 x 20mm Fascia and barge board | m | 60.6 |  | 0
28 Gauge pre-coated brick red corrugated galvanised iron roofing sheets fixed: 1 1/2 corrugations side laps: fixed to timber purlins (m/s) with galvanised iron drive screws with washers.
B | Roof covering | m2 | 245 |  | 0
C | Matching ridge caping | m | 17.5 |  | 0
D | Matching Valley | m | 0 |  | 0
Knot prime stop and apply one coat undercoat and two
finishing coats gloss oil paint on wood
E | Surfaces 200 - 300mm girth : fascia and barge boards | m | 60.6 |  | 0
TOTAL ELEMENT NO.10 (ROOF FINISHES)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 11 : ROOF WATER DRAINAGE
Supply and fix : rainwater disposal system
uPVC Gutter to BS 4576
A | 110mm Streamline gutter complete with gutter unions fascia
| clips for fixing to fascia | m | 35 |  | 0
Extra over gutter for :
B | 110mm Stop ends | nr | 4 |  | 0
C | 110 x 75mm Gutter outlets | nr | 4 |  | 0
uPVC Down pipe to BS 4576
D | 80mm Diameter rain water down pipe : clipped to walls with
| approved holder bats | nr | 4 |  | 0
Extra over down pipe for :
E | Bend : 80mm x 90o. | nr | 12 |  | 0
F | 100mm Shoe | nr | 4 |  | 0
The following in 5,000L rainwater storage tank
Tank base
G | Excavate top vegetable soil average 150mm deep and cart to spoil | m2 | 9 |  | 0
H | Anti-termite treatment to : sides and bottoms of foundations | m2 | 14 |  | 0
I | Ditto : blinded surfaces of hardcore | m2 | 6 |  | 0
J | Excavate foundation trenches: not exceeding 1.5m deep :
| commencing from stripped level | m3 | 6 |  | 0
K | Return, fill and ram : selected excavated materials around
| foundations: in 200mm layers compacted to 95% MDD. | m3 | 2 |  | 0
L | Surplus excavated material : Load up, cart, deposit, spread and
| level on site where directed. | m3 | 4 |  | 0
M | 125mm Murram filling : well watered and compacted to 95%
| MDD 95% : to make up levels under floor bed | m3 | 6 |  | 0
N | 150mm Hardcore bed : in broken stone blinded with and
| including 20mm layer of approved blinding ; under floor bed | m2 | 6 |  | 0
O | Plain concrete class 15/20mm aggregate, (mix 1:3:6) in : | m2 | 4 |  | 0
foundation in trenches 100mm thick
P | Ditto : 100mm Floor bed | m2 | 18 |  | 0
| Total Carried to Collection |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
A | Sawn form work to : edges of bed : 75 - 150mm width | m | 20 |  | 0
B | 230mm Wall : built to a radius of 1.07m : in hard burnt clay bricks
| bedded and jointed in cement and sand (1:4) mortar | m2 | 12 |  | 0
C | 15mm Cement and sand (1:4) render : steel trowelled smooth | m2 | 12 |  | 0
D | 5,000 Litre PLASTIC SMART water tank | nr | 1 |  | 0
E | 32mm Diameter Bip tap : complete with a stop valve | nr | 1 |  | 0
F | 300mm x 32mm Diameter overflow pipe | nr | 1 |  | 0
G | 1700mm x 32mm Diameter pipe : Wash out complete with stop
| valves | nr | 1 |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
| Page No. 17/21 |  |  |  | 0
| Page No. 18/21 |  |  |  | 0
TOTAL ELEMENT NO.11 (ROOF WATER DRAINAGE)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 12 : LIGHTNING PROTECTION
Supply, install, connect and set to work the following, all
as described in the Specifications and Drawings
Earthing
A | Inspection chamber : size 300mm x 300mm internal dimension :
| complete with lid. | nr | 2 |  | 0
Lightning Protection
B | 25mm x 3mm Copper tape. | m | 40 |  | 0
C | 25mm x 3mm Aluminium tape. | m | 12 |  | 0
D | 1200mm x 20mm Solid Copper bond earth rod pure copper :
| complete with couplers and driving tips | nr | 2 |  | 0
E | Bi-metallic connector. | nr | 2 |  | 0
F | Type A rod to clamp. | nr | 2 |  | 0
G | 25mm x 3mm Copper square test clamp. | nr | 2 |  | 0
H | Air terminals complete with tape adapter and all accessories | nr | 2 |  | 0
I | Conduit pipe heavy duty 32mm2 | nr | 2 |  | 0
J | Adaptable box 100mm x 100mm | nr | 2 |  | 0
K | Selected material of loam soill | trip | 2 |  | 0
L | Selected charcoal dust | bags | 4 |  | 0
M | Salt | bags | 4 |  | 0
TOTAL ELEMENT NO.12 (LIGHTNING PROTECTION)
| CARRIED TO BILL SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO. 13
ELECTRICAL INSTALLATION
Lighting
A | Provide heavy duty meter box | pcs | 1 |  | 0
B | Main Switch of 6way (MCB) CHINT | pcs | 1 |  | 0
C | Provide Conduit pipe 32mm2 heavy duty gauge | no | 1 |  | 0
D | Load cabe 16mm2 pvc earth and twin shule | m | 30 |  | 0
E | Lighting points of flouresent fittings 4ft without choke wired by 1.5mm2 twin with earth PVC-I copper cables in 20mm pvc conduits and circular boxes. | no | 62 |  | 0
F | 5/7W energy saving bulb fitting complete with all accessories as Thorn or equal approved.(F1) | no | 25 |  | 0
0
G | 10W energy saving bulb fitting in water proof Bulkhead and all accessories as Thorn or equal approved.(F1) | no | 17 |  | 0
H | 6A 1 gang 1 way moulded switch as MK or approved equal. | no | 16 |  | 0
I | 6A 1 gang 2 way moulded switch as MK or approved equal. | no | 7 |  | 0
J | 6A 2 gang 1 way moulded switch as MK or approved equal. | no | 2 |  | 0
K | 6A 2gang 2 way moulded switch as MK or approved equal. | no | 2 |  | 0
L | 6A 4gang 1 way moulded switch as MK or approved equal. | no | 1 |  | 0
Sockets
M | Single Socket outlet point wired by 2.5mm2 twin with earth PVC-I copper cables in 20mm pvc conduits and all accessories. | no | 0 |  | 0
N | Double Socket outlet point wired by 2.5mm2 twin with earth PVC-I copper cables in 20mm pvc conduits and all accessories. | no | 8 |  | 0
O | 13A 1gang switched socket outlet as MK, in MK boxes complete with all accessories. | no | 4 |  | 0
P | 13A 2gang switched socket outlet as MK, in MK boxes complete with all accessories. | no | 8 |  | 0
Q | Allow provisional sum for transfer and installation of Generator including Base and shade at the new site | sum | 0 |  | 0
| TOTAL ELEMENT NO. 13 (ELECTRICAL INSTALLATION) CARRIED TO BILL SUMMERY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO. 14
MECHANICAL INSTALLATIONS
A | Construct an elevated water storage tank of 2,000 lts at 3500m hight with GI pipe OD 110mm | nr | 1 |  | 0
B | Allow for connection with main distribution line at oxfam compound | Ls | 1 |  | 0
C | Pipe line extension HDPE OD 40mm with all its fittings and accessories | m | 120 |  | 0
D | Saddle Clamp OD 63mm x 3/4" outlet | nr | 1 |  | 0
PPR and uPVC Pipes for Water Supply (incl specials)
E | (PPR and uPVC), The fittings and specials such as tees, elbows, couplers, bends, enlargers etc., with PPR or uPVC brass threaded combination / transition specials such as male adapters brass threaded female adapters, brass FPT Tee, Brass FPT elbow etc., where connection with metal is to be made
E1 | PPR Pipe 3/4" | Lm | 12 |  | 0
E2 | PPR Tee 3/4" | No. | 20 |  | 0
E3 | PPR Plain Elbow 3/4" | No. | 24 |  | 0
E4 | PPR Cross Over 3/4" | No. | 8 |  | 0
E5 | PPR Female Elbow 3/4" | No. | 16 |  | 0
E6 | PPR Double Plate 3/4" | No. | 8 |  | 0
E7 | PPR Plane Socket 3/4" | No. | 8 |  | 0
E8 | PPR Female Socket 3/4" | No. | 4 |  | 0
E9 | uPVC Pipe 1 1/2" | No. | 8 |  | 0
E10 | uPVC Tee and plugs 1 1/2" | No. | 8 |  | 0
E11 | uPvc plane Elbow 1 1/2" | No. | 16 |  | 0
E12 | uPVC Pipe 2" | No. | 0 |  | 0
E13 | uPvc plane Elbow 2" | No. | 0 |  | 0
E14 | uPVC Tee and plugs 2" | No. | 0 |  | 0
E15 | uPVC Pipe 4" | No. | 0 |  | 0
E16 | uPVC Inspection Bends 4" | No. | 1 |  | 0
E17 | uPvc plane Elbow 4" | No. | 5 |  | 0
E18 | Gully Trap 4" | No. | 4 |  | 0
E18 | Solvent Cement | tin | 5 |  | 0
Providing Inspection Chambers
F | Supply and construct rectangular inspection chambers with 23Cms / 34Cms thick brick masonry in Cm 1:5 over a bed of 11.5 Cm thick PCC 1:5:10 plastering the inside and outside of the walls, smooth with CM 1:3 bending making channels in CC 1:2:4 finished with neat cement including supply and fix CI air tight frame and cover of appx weight 70kgs / 100 Kgs on top slab in RCC 1:2:4 and connecting all the incomings and the chamber leaving one length of SW pipe for connection to be done later (the SW pipes shall be paid for separately under appropriate items) as specified and directed, necessary excavation in any type of soil etc,. Complete as specified and directed.)
F1 | 450x600x450 | nr |  |  | 0
F2 | 600x600x450 | nr | 4 |  | 0
G | INTERNAL DRAINAGE
G1 | Supply and Install the following including clamps/ brackets for supporting pipes, builders works which involves making good to any openings made in floor slabs and chiselling of walls |  |  |  | 0
G2 | uPVC Pipes PN6 |  |  |  | 0
G3 | 40mm Complete with Tees, Bends, Reducers, Access plugs, necessary fittings and accessories. | LM | 16 |  | 0
G4 | 50mm Complete with Tees, Bends, Reducers, Access plugs, necessary fittings and accessories. | LM | 24 |  | 0
G5 |  |  |  |  | 0
G6 |  |  |  |  | 0
G7 | TOTAL CARRIED TO COLLECTION |  |  |  | 0
G8 |  |  |  |  | 0
G9 | 110mm Complete with Tees, Bends, Reducers, Access plugs, necessary fittings and accessories. | LM | 50 |  | 0
G10 | 110 x 50mm PVC Floor trap | NO | 8 |  | 0
H3 | Wash Basin complete with fittings and accessories |  |  |  | 0
| Model JAQUAR or it Equivalent - CNS-WHT-801 with matching Full Pedestal | pcs | 8 |  | 0
H8 | Soap Holder | nr | 1 |  | 0
H9 | Towel Rail/Towel Ring | nr | 1 |  | 0
J3 | Solvent Cement | pcs | 4 |  | 0
J5 | uPVC Vent Cap 4" | pcs | 4 |  | 0
J6 | G.I Clip 4" | pcs | 16 |  | 0
J7 | Gutter complete -plastic | Lm | 32.6 |  | 0
J8 | Down pour pipe | Lm | 16.8 |  | 0
J9 | 2000 ltrs tank | No. | 1 |  | 0
J10 | Soak pit of 1.2m x 1.5m deep complete with hardcore fill and DPM cover and backfill | No. | 1 |  | 0
| TOTAL ELEMENT NO. 14(MECHANICAL INSTALLATION) CARRIED TO BILL SUMMARY |  |  |  | 0