## KYAKA STORES
Construction of storage facility (store) with inbuilt water born toilets in Kyaka II, Kygegwa District
ITEM | DESCRIPTION |  |  |  | AMOUNT (UGX)
MAIN SUMMARY
A | OFFICE STORAGE FACILITY (STORES) |  |  | A | 0
B | WATER BORNE TOILET |  |  |  | 0
| ADD 5% CONTINGENCY |  |  | 5% x (A+B) | 0
C | SUB TOTAL STORES AND WATER BORNE TOILET |  |  | SUM | 0
| GRAND TOTAL STORES AND WATER BORNE TOILET TO BID DOCUMENT |  |  | SUM | 0
All unit rates should have applicable taxes as IRC will not pay for any tax not included in the unit
| Signed and stamped : Bidder |  |  | :
| Date: |  |  | :
| Signed and stamped : Employer |  |  | :
| Date: |  |  | :
ELEMENT | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
STORES AND WATER BORNE TOILET KYAKA
SUMMARY
1 | PRELIMINARIES AND GENERAL ITEMS |  |  |  | 0
2 | SUB-STRUCTURE |  |  |  | 0
3 | SUPER-STRUCTURE |  |  |  | 0
4 | ROOFING |  |  |  | 0
5 | WINDOWS AND DOORS |  |  |  | 0
6 | INTERNAL FINISHES |  |  |  | 0
7 | EXTERNAL FINISHES |  |  |  | 0
8 | ROOF WATER DRAINAGE |  |  |  | 0
9 | LIGHTNING PROTECTION |  |  |  | 0
10 | ELECTRICAL INSTALLATION |  |  |  | 0
| TOTAL STORE KYAKA II CARRIED TO MAIN SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Bill No.1
ELEMENT No. 1
PRELIMINARIES AND GENERAL ITEMS
All unit rates should have applicable taxes as IRC will not pay for any tax not included in the unit
General
A | The contractor must allow for costs in his tender in respect of these preliminary and general items by pricing these items
If the contractor leaves any items unpriced, he shall be deemed to have considered that the rates in the remaining items in the bills of quantities are sufficient to perform the services and obligations of these unpriced items
All unit rates should have applicable taxes as IRC will not pay for any tax not included in the unit
Fencing
B | Immediately upon taking possession of the site, the contractor will be required to erect fencing and gates for the security of his materials, plant and stores
Storage
C | The contractor must provide for the storage of the materials, plant and tools. For materials that are affected by weather, the storage sheds to be provided must be covered to keep out the rain and must be lockable | item | 1 |  | 0
Program of works
D | A program of works MUST be provided by the contractor
Building Regulations
E | The whole of the works shall be executed according to current building regulations and to the satisfaction of local authorities
Definitions and abbreviations
F | The following definitions and abbreviations to denote the unit of measurement, are used throughout these bills of quantities
The term "Engineer" shall mean the employer's representative (or the professional to whom the employer's representative has assigned the duty)
| Total Carried to Collections 1/1 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
CM to denote cubic meters
SM to denote square meters
LM to denote linear meters
No. to denote enumerated item
KG to denote kilogrammes
SMM to denote the Standard Method of Measurement of Building Works for East Africa, Metric 1970 edition
mm to denote millimeters
BS to denote the current British Standards three months before the date of invitation of this bid
Foreman
A | The contractor shall allow for a qualified and experienced foreman FULL-TIME on site. The employer's representative shall approve the foreman
Transport
B | The contractor shall include in his prices the transportation of materials, workmen, plant and tools, to and from site
Samples
C | The contractor shall furnish, before commencement of works any samples or workmanship at his own cost for approval by the Engineer
Sanitation
D | The contractor shall provide onsite, the necessary latrines for his staff and workmen to the requirements and satisfaction of the health authorities | ITEM | 1 |  | 0
Security
E | The contractor shall adequately safeguard the site, works, materials and plant from theft and damage by vandals
The contractor shall adequately safeguard the site, provide for temporary hoarding of the whole site with ironsheets/75% shade nets with movement areas properly cordooned with orange fance to ensure controlled movements within the construction areas including provision of hand washing face masks
| 75% shade nets | sm | 120 |  | 0
| Eclyptus poles for hoarding construction | item | 1 |  | 0
| 10L Hand washing facilities for workers | No. | 2 |  | 0
| Face masks | No. | 15 |  | 0
Plant, tools and scaffolding
F | The contractor shall allow for mobilization and demobilization of plant, equipment, temporary works, personnel, etc | ITEM | 1 |  | 0
| Total Carried to Collections 1/2 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Water
A | The contractor shall provide for all the necessary water to execute the works at his own cost | ITEM | 1 |  | 0
Site Meetings
B | Site meetings shall be conducted every fortnight (14 days) chaired by the employer's representative. The contractor MUST attend all these site meetings
Work at or after completion
C | The contractor shall allow for making good all damages
Sign Boards
D | One sign board to be erected on a chosen site to the employer's approval. This board shall state the project, the funder, the employer (implementer), name of the supervisor and the contractor | ITEM | 1 |  | 0
E | Site Clearance, leveling and grading
| Upon completion of works, the contractor shall clear off the site of all the debris, level and grade the compound to allow the end user access the completed structure | ITEM | 1 |  | 0
| Total Carried to Collections 1/3 |  |  |  | 0
COLLECTIONS
| Total Carried to Collections 1/1 |  |  |  | 0
| Total Carried to Collections 1/2 |  |  |  | 0
| Total Carried to Collections 1/3 |  |  |  | 0
| TOTAL PRELIMINARIES & GENERAL ITEMS TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELEMENT No. 2
SUB-STRUCTURE
(All provisonal)
Excavation and earthworks
A | Clear bush and excavate oversite average 150mm deep to remove vegetable soil and load and cart away from site | SM | 109.8 |  | 0
B | Excavate oversite to reduce levels | CM | 32.94 |  | 0
C | Excavate trench for strip foundations to a depth not exceeding 1.5M deep (actual depth to be determined on site) | CM | 30.8016 |  | 0
0
| Ditto but in spash apron | CM | 7.92 |  | 0
D | Ditto but in rock ditto | CM | 3 |  | 0
Disposal of water
E | Allow for keeping all excavations free from water, including running water and river water by pumping or otherwise | ITEM | 1 |  | 0
Planking and Strutting
F | Provide all planking and strutting necessary to maintain the sides of excavations and fillings to keep the excavations clear of fallen materials, rubbish or debris | ITEM | 1 |  | 0
Disposal of excavated material
G | Return, fill and ram selected materials around foundations in layers not exceeding 200mm thick | CM | 10.2672 |  | 0
H | Remove surplus excavated materials from site | CM | 5.1336 |  | 0
I | Selected imported murram to fill around the foundation placed in 200mm layers, watered and compacted to 95% MDD | CM | 9.7538 |  | 0
Anti-Termite treatment
J | Dig out and cart away all anthill nests on the whole site, destroy Queen ants and sterilize nests with Shell "Dieldrix 18" mixed with Gladiator T.C; 2% solution at the rate of 5 litres per square meter; to sides of excavations and tops of foundations generally | SM | 117 |  | 0
| Total Carried to Collections 2/1 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE
Hardcore filling
K | 150mm thick bed of hardcore spread, leveled, well compacted and blinded with 50mm layer of sand | SM | 55.2 |  | 0
Damp proofing
L | 1000 gauge diothene or other equal approved polythene sheeting as damp proof membrane dpm laid on blinded hardcore (measured separately) with welted joints and minimum 200mm end laps at all joints | SM | 55.2 |  | 0
Concrete work
M | Mass concrete, mix 1:4:8/19mm aggregate; blinding in foundation trenches | CM | 1.6284
N | Mass concrete, mix 1:3:6/20mm aggregate; in strip foundation | CM | 6.5136 |  | 0
O | 100mm thick concrete slab (mix 1:3:6/20mm aggregates) laid on damp proof membrane | SM | 55.2 |  | 0
P | 75mm thick concrete slab (Mix 1:3:6/20mm aggregates) laid on damp proof memberance in splash aprons and ramps | SM | 77.1408 |  | 0
Q | Vibrated reinforced concrete mix 1:2:4/20mm aggregates; in ground beams generally | CM | 1.4981 |  | 0
Reinforcements
R | Steel fabric reinforcement to BS 4483 ref A98 weighing 1.58kg/M² in concrete floor bed with minimum 300mm end and side laps | SM | 55.2 |  | 0
S | Mild steel reinforcement bars to BS 4449:1969; 8mm diameter | KG | 81.5675 |  | 0
T | High tensile steel reinforcement bars to BS 4449:1969; 12mm diameter | KG | 209.568 |  | 0
Sawn formwork
U | Sawn timber formwork to edges of floor slab 175-200mm high | LM | 30.4 |  | 0
V | Ditto to sides of ground beam | LM | 42.4 |  | 0
Well burnt brickwork in cement-sand 1:4 mortar;
W | 230mm thick walling in foundations with 25x1.2mm metal strip at every third coarse | SM | 56.64 |  | 0
0
| 150mm walling to splash apron and ramps | sm | 21.12 |  | 0
| Total Carried to Collections 2/2 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Damp proof course
X | Pluvex No. 1 or other equal approved horizontal damp proof course to BS 743; 230mm wide laid with 200mm end laps | LM | 56.64 |  | 0
Y | Ditto but 150mm wide | LM | 21.12 |  | 0
Cement and sand 1:3 render; wood floated in:-
Z | 15mm thick render to plinth walls | SM | 56.64 |  | 0
ZA | Prepare and apply two coats of bituminous paint on rendered surfaces of plinth walls | SM | 56.64 |  | 0
| Total Carried to Collections 2/3 |  |  |  | 0
COLLECTIONS
| Total Carried to Collections 2/1 |  |  |  | 0
| Total Carried to Collections 2/2 |  |  |  | 0
| Total Carried to Collections 2/3 |  |  |  | 0
| TOTAL SUB-STRUCTURE TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELEMENT No. 3
SUPER-STRUCTURE
Reinforced insitu concrete class 25/20mm aggt, (mix 1:2:4) vibrated in;
A | Ring beams | CM | 1.9504 |  | 0
B | Vibrated reinforced concrete mix 1:2:4/20mm aggregates; in Veranda Columns generally | CM |  |  | 0
High yield tensile steel bar reinforcement to BS 4461 as described including cutting to lengths, bending, hoisting and fixing including all necessary tying wire and spacing blocks.
C | 12mm diameter bars | KG | 81.5675 |  | 0
Mild steel bar reinforcement to BS 4461
D | 8mm diameter bars | KG | 209.568 |  | 0
Sawn timber formwork to:
E | Sides and soffits: ring beams | SM | 26.712 |  | 0
F | Vertical sides: columns | SM | 0 |  | 0
Hard burnt clay bricks to BS 3921 (3.5N/mm2 compressive strength) bedded and jointed in cement and sand (1:4) mortar.
G | 230mm thick well burnt clay brickwall with 25x1.5mm metal strip (hoop iron) at every alternate course | SM | 116.48 |  | 0
H | Ditto but 150mm thick walls | SM | 34.56 |  | 0
I | Allow for labour and materials for eaves filling in 230mm walls: | LM | 38.4 |  | 0
| TOTAL SUPER-STRUCTURE TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELEMENT No. 4
ROOFING
Structural timbers:
Sawn cypress or other approved timber species: pressure impregnated with Tanalith or other approved wood preservative.
The following in 7No. Truss : 6460mm clear span x 1600mm rise : nailed together, hoisted and fixed 3.0m above ground.
A | 150 x 50mm Rafters | LM | 60 |  | 0
B | 100 x 50mm Struts/Ties | LM | 72 |  | 0
C | 150 x 50mm Tie beam | LM | 42 |  | 0
D | 100 x 50mm Purlins | LM | 124.8 |  | 0
E | 100 x 75mm Wall plate | LM | 36.4 |  | 0
Prime grade joinery timber: wrot pine
F | 225 x 25mm plastic Fascia board supported with 100x50mm fascia lining screwed to best fit to the approval of the engineer | LM | 43.2 |  | 0
28 Gauge pre-coated (employer to decide colour) profilrd galvanised iron roofing sheets, fixed 1½ corrugations side laps: fixed to timber purlins (m/s) with capped/rubber roofing wire nails
G | Roof covering | SM | 104 |  | 0
H | Matching ridge caping | LM | 10.4 |  | 0
Prime and apply one coat undercoat gloss and two finishing coats gloss oil paint on wood
I | Surfaces 300mm girth : fascia and barge boards | LM | 43.2 |  | 0
Ceiling Finishes
j | Supply and fix 100mm x 50mm sawn timber joist and branderings at 600mm centres either way. | LM | 223.7 |  | 0
| 24 guage expanded metal lath | SM | 67.2 |  | 0
k | 15mm cement sand priking to expanded metal lath | SM | 67.2 |  | 0
l | Extra over for a 600 x 600mm ceiling access timber panel with sides cut Beveled and fixed on and including Painting to exposed surfaces. | No | 2 |  | 0
m | Extra over for a moulded cornice; 75x15mm | LM | 64 |  | 0
| Prepare, prime and paint one undercoat and two coats of emulsion paint on ceiling internally. | SM | 67.2 |  | 0
| TOTAL ROOF TO SUMMARY |  |  |  | 0
ELEMENT No. 5
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
5.1 | WINDOWS AND DOORS
WINDOWS
Precast concrete : class 25/(12mm aggt) [mix 1:2:4] units : reinforced with gauge 10 square welded mesh strip : finished fair on exposed surfaces: bedded and jointed in cement and sand (1:4) mortar
A | 325 x 75mm Cill : sunk, weathered and throated | LM | 4.5 |  | 0
Purpose made steel casement to BS 990 : frames and glazing primed with one coat red oxide primer before fixing : complete with fixing lugs built into walls: This includes burglar proofing as desscribed by the employer
B | Window size 900mm x 1500mm high overall : comprising 300mm high steel louvred vent for full width : 1No side-hung opening sash size 600 x 900mm : all divided in panes 0.1 - 0.5M² | No. | 5 |  | 0
C | Window size 1500mm x 1500mm high overall : comprising 300mm high steel louvred vent for full width : 2No side-hung opening sash size 500 x 1200mm : all divided in panes 0.1 - 0.5M² | No. |  |  | 0
Iron mongery and matching fixings
D | Fastener | No. | 5 |  | 0
E | Stay | No. | 5 |  | 0
Ordinary quality clear sheet glass & glazing
F | 5mm Glass : Glazing to metal casement panes 0.1 - 0.5M2 with tropical glazing putty | SM | 5.4 |  | 0
Painting
Prepare touch up primer and apply one coat undercoat and two finishing coats of gloss oil paint : on metal
G | Glazed casement windows (measured flat both faces) | SM | 3.24 |  | 0
| Total carried to Collections 5/1 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
5.2
Prepare touch up primer and apply one coat undercoat and two finishing coats of gloss oil paint : on concrete
H | Window Cills : 325 x 75mm average | LM | 4.5 |  | 0
Cement and sand (1:4)
I | 15mm Plaster to reveals : average 200 - 300mm wide: steel trowelled smooth | LM | 4.5 |  | 0
Prepare and apply three coats weather guard emulsion paint : to
J | Plastered surfaces of reveals 200 - 300mm wide : external | LM | 4.5 |  | 0
Prepare surfaces: apply three coats vinyl silk soft white emulsion paint: on steel trowelled plaster: to
K | Plastered surfaces of reveals 200 - 300mm wide : internal
DOORS
Purpose made steel casement door : 135x45x1.5mm door frame sections with SHS 40x40x1.2mm framing and clad, faced faced with 5mm thick glass : complete with hinges, frame and fixing lugs built into wall.
L | Size 1500 x 2400mm high overall : comprising 300mm high steel louvred vent for full width : door shutter size 1200 x 2100mm high | No. | 1 |  | 0
M | Size 900 x 2400mm high overall : comprising 300mm high steel louvred vent for full width : door shutter size 900 x 2100mm high | No. | 3 |  | 0
Maoghany Pannel doors
N | Size 900 x 2100mm high overall : comprising 300mm high glass panel over for full width : door shutter size 900 x 2100mm high | No. | 5 |  | 0
Painting
O | Prepare touch up primer and apply one undercoat and two finishing coats of gloss oil paint: metal doors | SM | 11.52 |  | 0
Supply and fix: English "Union" or other equal approved ironmongery: matching screws: locks to include a set of 3 keys. (Prices of locks to be inclusive of handles)
P | 38mm Diameter door stops | No. | 4 |  | 0
Q | 3 lever Mortise locks (Parker) | No. | 8 |  | 0
Cement and sand (1:4)
R | 15mm Plaster to reveals : average 200 - 300mm wide: steel trowelled smooth | LM | 47.4 |  | 0
Prepare and apply three coats weather guard emulsion paint : to
S | Plastered surfaces of reveals 200 - 300mm wide : external | LM | 47.4 |  | 0
Prepare surfaces: apply three coats vinyl silk soft white emulsion paint: on steel trowelled plaster: to
T | Plastered surfaces of reveals 200 - 300mm wide : internal | LM | 47.4 |  | 0
| Total carried to Collections 5/2 |  |  |  | 0
COLLECTIONS
| Total Carried to Collections 5/1 |  |  |  | 0
| Total Carried to Collections 5/2 |  |  |  | 0
| TOTAL WINDOWS AND DOORS TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELEMENT No. 6
INTERNAL FINISHES
Wall Finishes
Mortar; Cement- Sand mix ( 1:4); Plaster; 10 mm first coat of cement and sand (1:6); 3 mm second coat of cement and lime putty (1:10); steel trowelled; 13 mm thick
A | 13mm plaster to brick wall. | SM | 185.6 |  | 0
B | Ditto but in 13mm x 75mm ceiling cornice. | LM | 64 |  | 0
Prepare and apply one undercoat and two finishing coats of silk vinyl emulsion paint on :-
C | Plastered walls | SM | 185.6 |  | 0
| Total carried to Collections 6/1 |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
Floor Finishes
| Polished ceramic coloured tiles; bedding and jointing in cement /adhesive mortar (1:4); grouting joints with matching coloured cement; 300 x 300 x 10 mm thick; |  |  |  | 0
0
D | To floors and verandas generally; | m2 | 15.24 |  | 0
0
E | To skirtings; 100 mm high and 10mm thick with plastic strip on the top edge | m | 12.3 |  | 0
0
F | ditto but 150x400mm to walls ; | m2 | 36 |  | 0
G | 20mm thick cement sand screed mix 1:4 to apron finished smooth | m2 | 15.6 |  | 0
| Total carried to Collections 6/2 |  |  |  | 0
COLLECTIONS
| Total carried to Collections 6/1 |  |  |  | 0
| Total carried to Collections 6/2 |  |  |  | 0
| TOTAL INTERNAL FINISHES TO SUMMARY |  |  |  | 0
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
ELEMENT No. 7
EXTERNAL FINISHES
Mortar; cement and sand (1:4)
A | 15mm rendering in two coats; finished with wooden float and then tyrolean applied generally to walls. | SM | 116.48 |  | 0
Painting and Decorating
C | To rendered brick wall. | SM | 102 |  | 0
Prepare and apply one undercoat and two finishing coats of silk vinyl emulsion paint on :-
F | Beams | SM | 10 |  | 0
| TOTAL EXTERNAL FINISHES TO SUMMARY |  |  |  | 0
ELEMENT NO 8 : ROOF WATER DRAINAGE
Supply and fix : rainwater disposal system
uPVC Gutter to BS 4576
A | 110mm Streamline gutter complete with gutter unions fascia
| clips for fixing to fascia | m | 20.8 |  | 0
Extra over gutter for :
B | 110mm Stop ends | No. | 4 |  | 0
C | 110 x 75mm Gutter outlets | No. | 2 |  | 0
uPVC Down pipe to BS 4576
D | 80mm Diameter rain water down pipe : clipped to walls with
| approved holder bats | No. | 2 |  | 0
Extra over down pipe for :
E | Bend : 80mm x 90o. | No. | 4 |  | 0
F | 100mm Shoe | No. | 2 |  | 0
Appliances
Wash hand Basin
| Wash basin wall pedestal 610mm with elbow support, shaped edges for a better grip as Ideal standard San Remo complete with one center tap hole,white colour,32mm chrome plated bottle trap, complete with 1/2" Elbow action tap as Vado with aerator, pop-up waste and Flexible supply hose. | No. | 2 |  | 0
Slab Urinal
| Wall hung ceramics urinal to Architects details Complete with built-in tipping tank and 12mm adjustable drip cock,outlet, waste outlet,flush pipes, valves, urinal waste,tiling key and all necessary fittings and accessories | No. | 1 |  | 0
WC Squatting pan
| WC Squatting pan as Franke model SBE Squat pan manufactured from 1.2mm gauge grade 304(18/10) or equall and approved Stainless Steel throughout with the foot plate tray pressed in anti-slip raised pattern on both sides of and infront of the flush bowl and 20mm horizontal grouting key on all four sides and flush bowl pressed into one piece. Complete with a rear entry flushing spreader with self sealing mechanism for flush pipe,110mm external waste outlet,brackets,flexible hose,inlet connector,rubber,flush pipe and clips complete with cistern | No. | 4 |  | 0
| TOTAL ROOF WATER DRAINAGE TO SUMMARY |  |  |  | 0
Item
| Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO 9 : LIGHTNING PROTECTION
Supply, install, connect and set to work the following, all
as described in the Specifications and Drawings
Earthing
A | Inspection chamber : size 300mm x 300mm internal dimension :
| complete with lid. | No. | 1 |  | 0
Lightning Protection
B | 25mm x 3mm Copper tape. | m | 12 |  | 0
C | 25mm x 3mm Aluminium tape. | m | 6 |  | 0
D | 1200mm x 20mm Solid Copper bond earth rod pure copper :
| complete with couplers and driving tips | No. | 1 |  | 0
E | Bi-metallic connector. | No. | 1 |  | 0
F | Type A rod to clamp. | No. | 1 |  | 0
G | 25mm x 3mm Copper square test clamp. | No. | 1 |  | 0
H | Air terminals complete with tape adapter and all accessories | No. | 1 |  | 0
I | Conduit pipe heavy duty 32mm2 | No. | 1 |  | 0
J | Adaptable box 100mm x 100mm | No. | 1 |  | 0
K | Selected material of loam soill | trip | 1 |  | 0
L | Selected charcoal dust | bags | 2 |  | 0
M | Magadi | bags | 2 |  | 0
| TOTAL LIGHTNING PROTECTION TO SUMMARY |  |  |  | 0
Item | Description | Unit | Qty | Rate (UgShs) | Amount (UgShs)
ELEMENT NO. 10
ELECTRICAL INSTALLATION
A | Provide heavy duty meter box | pcs | 1 |  | 0
B | Load cabe 16mm2 pvc earth and twin shule | m | 15 |  | 0
C | Lighting points wired by 1.5mm2 twin with earth PVC-I copper cables in 20mm pvc conduits and circular boxes. | No. | 15 |  | 0
D | 63A 4-Way SPN MCB Consumer Unit flush mounting complete with integral isolator, MCBs and all accessories as MEM, CRABTREE or equal approved. | No. | 1 |  | 0
E | Earth installation by 25mm2 PVC copper cables to copper electrode in manhole complete with all accessories. | item | 1 |  | 0
F | Security light water proof bulkhead (cascate iron) PIR/Motion Central flood light | pcs | 6 |  | 0
G | 5/7W energy saving bulb fitting complete with all accessories as Thorn or equal approved.(F1) | No. | 15 |  | 0
Sockets
H | Double Socket outlet point wired by 2.5mm2 twin with earth PVC-I copper cables in 20mm pvc conduits and all accessories. | No. | 2 |  | 0
I | 13A 2gang switched socket outlet as MK, in MK boxes complete with all accessories. | No. | 2 |  | 0
0
J | Allow provisional sum for power connetion | sum | 1 |  | 0
| TOTAL ELECTRICAL INSTALLLATION TO SUMMERY |  |  |  | 0

## Sum Mech reticulation
Construction of storage facility (store) with inbuilt water born toilets in Kyaka II, Kygegwa District
ELEMENT | DESCRIPTION | AMOUNT (UGX)
BILL No. 2
MECHANICAL RETICULATION AND SITE WORKS
SUMMARY
1 | WATER SUPPLY, STORAGE AND DISTRIBUTION | 0
2 | FOUL EXTERNAL DRAINAGE SYSTEM- PIPES AND FITTINGS | 0
| TOTAL BILL No.2 CARRIED TO MAIN SUMMARY | 0

## Bill No.2 Mech reticulation
Construction of storage facility (store) with inbuilt water born toilets in Kyaka II, Kygegwa District
Item | Description |  | Rate (Ushs) | Qty | AMOUNT
BILL No. 2
MECHANICAL RETICULATION AND SITE WORKS
ELEMENT NO. 1
WATER SUPPLY, STORAGE AND DISTRIBUTION
A | Excavate trench 0.3M wide ,Max and .6M deep back fill ram and cart away excess soil to lay rising main and HDPE pipes for Water distribution and Hosereels and Stand pipes. | LM |  | 200 | 0
B | 32mm HDPE pipe PN10 laid in ground for water distribution from water tanks.Complete with Tees,Elbows,Reducers,Unions,Reducers,Adapters and all associated fittings and accessories. | LM |  | 150 | 0
C | Ditto but 25mm | LM |  | 12 | 0
P | Water distribution pipes as 25mm PPR pipe PN25.complete with Tees, Elbows,Reducers and all associated fittings. | LM |  | 15 | 0
R | Ditto but 32mm | LM |  | 20 | 0
S | Stand pipe Complete with bib taps, splash slab, short wall to hang taps, connection to water mains, drain, soak pit 1200x600mm and all accessories. | NO |  | 2 | 0
T | Valve chamber 400x 400 by 300mm deep, Complete with cast iron cover, frame and all fittings. | NO |  | 1 | 0
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
2/1/1
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
2/1/2
PVC Water tank and Steel tower
A | 2,000L PVC tanks as Gentex or equall and approved complete with 25mm ball valve, 25mm washout and 25mm overflow pipe. | NO |  | 1 | 0
| Steel Tank Tower |  |  |  | 0
B | 6m Steel Tower for mounting above tank to Structural Engineers' detail, complete with safety caged cat ladder, 600mm walkway all around, 1.5m high guard rails, 3.0m demountable ladder and all accessories. | ITEM |  | 1 | 0
| TOTAL CARRIED TO COLLECTION |  |  |  | 0
COLLECTION
| Total Carried Forward from Page 2/1/1 |  |  |  | 0
| Total Carried Forward from Page 2/1/2 |  |  |  | 0
| Total Carried Forward from Page 2/1/3 |  |  |  | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
2/1/4
BILL No. 2
MECHANICAL RETICULATION AND SITE WORKS
ELEMENT NO. 2
FOUL EXTERNAL DRAINAGE SYSTEM- PIPES AND FITTINGS
The Contractor is to supply ,install and commission to the satisfaction of the Engineer the followingincluding builders works
A | Excavate trench 0.6M wide ,Max and 1M deep back fill ram and cart away excess soil to lay drainage pipes as detailed. | LM |  | 50 | 0
B | ditto but in rocky ground | LM |  | 5 | 0
E | uPVC pipe 110mm PN 6 to be laid as detailed. | LM |  | 50 | 0
F | Manhole as 600 x 450mm (internally) inspection chambers 600mm deep invert consisting of 150mm thick concrete block wall, benched and channeled in concrete Class "Q' and rendered and trowelled smooth in 20mm thick water proofed cement/sand screed including excavation and medium duty approved cast iron cover and frame | NO |  | 6 | 0
G | Manhole as 1200 x 900 mm(internally) inspection chambers 1500 to 2500mm deep invert consisting of 150mm thick concrete block wall, benched and channeled in concrete Class "Q' and rendered and trowelled smooth in 20mm thick water proofed cement/sand screed including excavation,bitumen coated cast iron steps and Heavy duty approved cast iron cover and frame. | NO |  | 2 | 0
H | Gully trap 300 x300 complete with Gulley piece concrete surround and grating and 300 x 300 cast iron cover. | NO |  | 5 | 0
I | Two chamber septic tank for 40 users to detail size 4190 by 1610mm by 1000mm deep to structural Engineer's detail complete with inlet and outlet chambers. | NO |  | 1 | 0
J | Soakpit size 2.0M diam 3M deep filled with hard core and covered with 1000 guage polythene and top made good to match surroundings | NO |  | 1 | 0
| TOTAL CARRIED TO SUMMARY |  |  |  | 0
2/2/1